## About
EoCPwEU Elasticity of Component Energy Price wrt Energy Use
Source: | Installed costs and efficiency (current)
Synapse Energy Economics Inc.
Decarbonization of Heating Energy Use in California Buildings: Technology, Markets, Impacts, and Policy Solutions
2018
http://www.synapse-energy.com/sites/default/files/Decarbonization-Heating-CA-Buildings-17-092-1.pdf
Forecast of future price and efficiency
National Renewable Energy Laboratory
Electrification Futures Study: End-Use Electric Technology Cost and Performance Projections through 2050
2018
https://www.nrel.gov/docs/fy18osti/70485.pdf
Time of Use Benefit
Rocky Mountain Institute
The Economics of Electrifying Buildings
2018
https://rmi.org/insight/the-economics-of-electrifying-buildings/
Methodology
Account for new vs. existing (retrofit)
Account for single family vs. multi family
Account for heating and cooling vs. heat only
Account for cold zones where Snyapse report results would not or may not apply
Acount for learning curves and other sources of innovation and cost reductions (such as economies of scale)
Account for whether or not building panel upgrade should be attributed to the equipment installation.
Account for time of use potential savings.
Account for cost to government of administering the program.
Note, the electrification policy is applied uniformly to all non-electric energy demand.
Therefore, it is not possible to exclude "other" components.
This is accounted for by ensuring the efficiency improvements are kept to a level below
that which implies total reductions in energy use other than electricity at a level
which need to affect "other energy." Put differently, the approach is to
ensure enough energy other than electricity remains in use in residential buildings
in 2030 (the focus of initial policy analysis) to allow for continued use of
non-electrical energy in the other category.
In order to achieve consistent price effects, all capital cost effects are gathered in a single component variable.
That is to say, as shown in the "Elasticity price wrt energy" tab, adjustments are made to balance out upfront
additional costs for water heating from other categories. This, directly reduces the capital spendings
gain for space heating.

## EoCPwEU
EoCPwEU | Urban Residential | Rural Residential | Commercial
heating | 0.19444 | 0 | 0
cooling and ventilation | 0 | 0 | 0
envelope | 0 | 0 | 0
lighting | 0 | 0 | 0
appliances | 0 | 0 | 0
other component | 0 | 0 | 0

## Elasticity price wrt energy
Elasticity of component price with respect to change in efficiency
Air source heat pump | 0.19444 |  | -0.12153
Heat pump water heater | 0
Capital accounting and application of % change to calculate elasticity |  | Broad scope - Impact of adding home panel upgrades,new home savings, and TOU impacts
weighted average impact
From efficiency spreadsheet
% energy saved
Space heating | -0.76021
Water heating | -0.84083
Change in price (cost to purchase before adjustments)
% change in price
Space heating | -0.14781
Water heating | 0
Impacts on cost
Air source heat pump - space heating
Incremental cost in aggregate
base price average | 7668.1318
heat pump option | 5547.1909
price change with electrification | 2120.9409
Water heat
base cost | 1520
HPWH | 2002.5343
price difference zeroed out to carry cost effects with HVAC variable | 0
price change to roll into HVAC | -482.5343
Spillover effects (new savings, panel costs) |  | spillovers add to this amount in sensitivity
spillovers add to this amount in BAU | -385.6866 | excludes TOU benefit
|  | Broader scope impact without TOU benefits | 1841.8951
Cost of government to implement
-119.287
Netting out air, water, and spillover effects
Net costs (negative means savings) | -1133.4331 | Net costs without TOU | 708.462
% change in component price | -0.14781 |  | 0.09239

## Cost input data
| savings on piping in new homes |  |  | 6412
| panel upgrade extra cost |  |  | 4671
at 2017 / initial prices
| Advanced cost | Natural gas alternative | difference between two
With AC
SF Retro | 7342 | 9628 | -2286
SF New | 6132 | 7997 | -1865
MF Retro | 4506 | 6065 | -1559
MF New | 4506 | 6065 | -1559
Not including AC
SF Retro | 7342 | 6628 | 714
SF New | 6132 | 4997 | 1135
MF Retro | 4506 | 3565 | 941
MF New | 4506 | 3565 | 941

## new vs. retrofit
Compare retirments to new additions to impute fraction new
Central air
Data show no induced early retirment
Res CA - natural retirement
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Refererence Central Air Conditioner | 412393.8322 | 419806.1609 | 427020.7884 | 433633.6264 | 439135.5665 | 443116.999 | 445692.6801 | 447037.7166 | 447478.728 | 447660.5035 | 447816.5752 | 448457.4596 | 449662.0127 | 451367.3353 | 453595.7767 | 455912.5111 | 458103.602 | 459797.9779 | 460575.6994 | 460097.8644 | 457996.7545 | 453893.9251 | 447577.2381 | 438752.2242 | 427300.9867 | 413153.2773 | 396364.5895 | 377009.385 | 355355.1294 | 331629.8721 | 306298.5983 | 279754.4352 | 252578.1195 | 225290.5059
High Efficiency Central Air Conditioner | 174.6833 | 229.4354 | 299.8166 | 389.9553 | 505.804 | 654.5192 | 846.3443 | 1095.3863 | 1420.3484 | 1845.4577 | 2401.469 | 3129.1648 | 4078.9804 | 5314.5604 | 6915.9644 | 8981.1423 | 11628.9952 | 15001.5512 | 19264.9704 | 24609.3744 | 31247.5593 | 39411.3327 | 49345.3051 | 61284.8487 | 75460.8743 | 92055.4978 | 111181.7377 | 132863.8054 | 156989.7405 | 183315.9249 | 211471.2453 | 240952.2423 | 271175.0192 | 301508.3213
None | 2121399.6064 | 2139748.3242 | 2155624.8415 | 2166564.8437 | 2181740.6922 | 2196509.4268 | 2209669.4549 | 2222125.6274 | 2236411.988 | 2250686.1167 | 2264465.2098 | 2277979.569 | 2291573.6274 | 2304943.4311 | 2317083.9587 | 2328999.8732 | 2340430.9462 | 2352945.2992 | 2366400.3111 | 2378295.4225 | 2389535.1395 | 2399895.3372 | 2410256.557 | 2420825.3426 | 2430795.1623 | 2439866.4007 | 2448916.5485 | 2457622.5193 | 2465958.62 | 2473983.1058 | 2481639.8419 | 2488787.7231 | 2495526.213 | 2502014.5978
Total | 2533968.1219 | 2559783.9205 | 2582945.4465 | 2600588.4254 | 2621382.0627 | 2640280.945 | 2656208.4793 | 2670258.7303 | 2685311.0643 | 2700192.0779 | 2714683.2539 | 2729566.1934 | 2745314.6206 | 2761625.3267 | 2777595.6997 | 2793893.5267 | 2810163.5434 | 2827744.8284 | 2846240.9809 | 2863002.6613 | 2878779.4533 | 2893200.595 | 2907179.1002 | 2920862.4155 | 2933557.0233 | 2945075.1757 | 2956462.8756 | 2967495.7097 | 2978303.4899 | 2988928.9028 | 2999409.6855 | 3009494.4006 | 3019279.3517 | 3028813.425
Retirement (implies retrofit) | 412568.5155
Space heat
Data show no induced early retirment
natural retirement
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Electric Radiator | 60721.3328 | 61284.5467 | 62018.8028 | 62918.7316 | 63934.7191 | 65011.1635 | 66071.6663 | 67049.8139 | 67894.0669 | 68557.2266 | 69055.3339 | 69404.3287 | 69633.5108 | 69794.2211 | 69924.3128 | 70066.5169 | 70239.5168 | 70475.4692 | 70763.0508 | 71131.7894 | 71582.2695 | 72108.2146 | 72690.3544 | 73341.0476 | 74027.0159 | 74708.0904 | 75393.8116 | 76040.8853 | 76635.8864 | 77160.0072 | 77622.8553 | 78005.8242 | 78327.8328 | 78594.8281
Electric Heat Pump | 18755.8708 | 19055.8853 | 19351.6698 | 19623.1837 | 19851.6136 | 20022.2615 | 20141.3176 | 20218.2308 | 20271.5279 | 20319.8879 | 20377.6788 | 20460.5632 | 20566.7763 | 20698.9917 | 20859.2624 | 21031.7109 | 21220.3488 | 21412.5259 | 21602.8474 | 21787.1636 | 21960.0916 | 22116.4281 | 22259.0561 | 22383.4791 | 22495.6411 | 22597.3916 | 22696.2261 | 22793.9555 | 22897.1063 | 23003.5045 | 23117.0693 | 23232.8323 | 23350.9939 | 23467.4003
High Efficiency Electric Heat Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference Natural Gas Furnace | 357271.3557 | 360585.1611 | 364905.3019 | 370200.1166 | 376177.5058 | 382509.8641 | 388746.3433 | 394492.7994 | 399437.112 | 403280.0665 | 406062.2004 | 407770.8933 | 408396.3969 | 407957.31 | 406236.9758 | 402874.9858 | 397237.3716 | 388746.1168 | 376679.847 | 360793.9378 | 341045.308 | 317791.2299 | 291793.144 | 264343.9614 | 236681.9432 | 209982.4258 | 185540.2899 | 163994.8657 | 145766.2623 | 130872.9793 | 119169.4171 | 110113.3551 | 103229.3567 | 97964.2661
High Efficiency Natural Gas Furnace | 0.014971 | 0.039623 | 0.10506 | 0.27967 | 0.74402 | 1.9551 | 5.2483 | 14.004 | 37.0958 | 96.0316 | 244.6548 | 589.3729 | 1312.328 | 2696.9998 | 5182.7657 | 9381.4548 | 16036.9636 | 25916.5114 | 39674.8505 | 57730.3387 | 80129.4975 | 106478.1241 | 135901.3967 | 167179.1189 | 198877.2288 | 229584.0434 | 258060.8161 | 283413.4839 | 305142.9472 | 323120.0449 | 337546.9066 | 348856.2763 | 357634.9041 | 364470.9384
Reference Natural Gas Radiator | 91904.9348 | 91970.8408 | 92084.702 | 92309.3172 | 92654.2603 | 93150.4316 | 93882.5297 | 94842.5756 | 96028.3392 | 97479.1357 | 99138.8901 | 100890.718 | 102741.6732 | 104530.9226 | 106181.8533 | 107651.6883 | 108863.7304 | 109731.2549 | 110272.5246 | 110420.8022 | 110097.3099 | 109226.8025 | 107787.2541 | 105655.5407 | 102702.5558 | 99000.5664 | 94445.8033 | 89142.6373 | 83207.0569 | 76822.4944 | 70189.5782 | 63591.0772 | 57216.844 | 51279.4454
High Efficiency Natural Gas Radiator | 3.1898e-05 | 9.9273e-05 | 0.00027065 | 0.0007664 | 0.0020811 | 0.0053458 | 0.014503 | 0.038689 | 0.10272 | 0.2648 | 0.73711 | 1.9226 | 5.0688 | 12.708 | 32.2341 | 72.9705 | 152.8956 | 299.675 | 566.4404 | 1020.205 | 1758.0045 | 2885.7819 | 4526.4068 | 6801.8525 | 9823.4507 | 13663.0448 | 18346.7197 | 23841.666 | 30034.6728 | 36759.9242 | 43811.1657 | 50957.7934 | 57973.3368 | 64658.6616
Reference LPG Furnace | 16065.5195 | 16214.5334 | 16408.8013 | 16646.9025 | 16915.7103 | 17200.5136 | 17481.0992 | 17739.8954 | 17963.266 | 18138.7234 | 18270.5115 | 18362.8478 | 18423.4843 | 18466.0047 | 18500.4241 | 18538.0481 | 18583.8201 | 18646.2478 | 18722.3356 | 18819.8956 | 18939.0827 | 19078.2361 | 19232.2574 | 19404.4164 | 19585.9084 | 19766.1057 | 19947.5323 | 20118.7337 | 20276.1578 | 20414.8285 | 20537.2879 | 20638.613 | 20723.8093 | 20794.4503
None | 255281.8286 | 257539.386 | 259556.4305 | 260999.1515 | 262960.0918 | 264893.9463 | 266653.8387 | 268349.0759 | 270273.1034 | 272205.9619 | 274091.2357 | 275956.2359 | 277843.9546 | 279696.4532 | 281420.617 | 283121.9033 | 284771.6556 | 286542.9434 | 288398.3886 | 290081.6532 | 291699.8667 | 293215.1759 | 294705.0034 | 296206.3771 | 297638.8222 | 298981.2996 | 300305.6678 | 301595.7959 | 302844.4005 | 304057.5967 | 305230.0634 | 306354.5188 | 307442.485 | 308504.0198
Retirement (implies retrofit) | 544719.0286
New installations | 647015.3314
Fraction new | 0.1581
Fraction retrofit | 0.8419

## air source heat pump -synthesis
% change | -0.27659
base price average | 7668.1318
Incremental cost in aggregate | -2120.9409
Advance alternative price | 5547.1909
Change in installed cost per Synapse
| Fraction of future installations through 2030 | Weighted incremental cost for this segment | subtotal | base cost for denominator to find % change
With AC
New SF | 0.070676 | -2341.6453 | -165.4986
New MF | 0.071315 | -1909.255 | -136.1577
Retro SF | 0.43725 | -2856.6996 | -1249.0817
Retro MF | 0.31884 | -1909.255 | -608.7512
Not including AC
New SF | 0.0080208 | 658.3547 | 5.2806
New MF | 0.0080933 | 590.745 | 4.7811
Retro SF | 0.049622 | 143.3004 | 7.1108
Retro MF | 0.036185 | 590.745 | 21.3758
Faction heat only installations | 0.10192
New vs. existing construction
0.1581 | new
0.8419 | existing
Single vs. multi family
existing housing stock
SF | 0.5783
MF | 0.4217
new housing stock
SF | 0.49775
MF | 0.50225
Itermediate fractions
new and SF | 0.078697
new and MF | 0.079408
retro and SF | 0.48687
retro and MF | 0.35503

## collapsing time series
Need to account for future deployment schedule to properly collapse current and future prices into a single parameter.
Weighting for weighted cost assuming policy implication schedule ramps up to full strength in 2025.
Calculate based on policy schedule.
Because the stock turnover result in constant % change year-over-year, the prodedure need only consider the policy schedule to
account for deployment over time.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
policy strength | 0.33 | 0.67 | 1 | 1 | 1 | 1 | 1 | 1

## method for cooling penetration
Methodology
Want to account for new vs. existing (retrofit)
Want to account for single family vs. multi family
Want to account for heating and cooling vs. heat only
Want to account for cold zones where Snyapse report results would not or may not apply
Want to accout for learning and other sources of innovation
change in fraction with central air over 2015-2017 | 0.036663
annualized | 0.018331
If applied this percentage directly, would be exponential. Historical growth more closely approximates linear. Find annual absoute increment and apply that going forward.
Year over year increase | 0.01493
We found no existing forecasts of future penetration of air conditioning in California.
It is well understood that air conditioning use tends to increase with increases in temperature and income.
https://www.pnas.org/content/112/19/5962
We know that areas of coastal California that were previously characterized by very little use of air conditioning are seeing large increases, per the link in the row below.
https://laist.com/2018/07/25/living_at_the_beach_no_longer_means_no_ac_needed.php
Looking at national data, the trend toward greater use of AC is obvious and nearly inexorable (in retrospect at least)
EIA data, 2009 REC survey
https://www.eia.gov/consumption/residential/reports/2009/air-conditioning.php

## space heat - details
Incremental Cost
Negative indicates savings
Positive indicates costs
| Average incremental cost in 2017 $s |  |  | Reorder to algin with other page
With AC |  |  |  | With AC
SF Retro | -2856.6996 |  |  | New SF | -2341.6453
SF New | -2341.6453 |  |  | New MF | -1909.255
MF Retro | -1909.255 |  |  | Retro SF | -2856.6996
MF New | -1909.255 |  |  | Retro MF | -1909.255
Not including AC | 0 |  |  | Not including AC
SF Retro | 143.3004 |  |  | New SF | 658.3547
SF New | 658.3547 |  |  | New MF | 590.745
MF Retro | 590.745 |  |  | Retro SF | 143.3004
MF New | 590.745 |  |  | Retro MF | 590.745
Incremental cost, negative indicates savings, positive indicates net cost
Time series weighted price - averaged through 2030 accounting for deployment
| Advanced cost | Natural gas alternative | difference between two
With AC
SF Retro | 6771.3004 | 9628 | -2856.6996
SF New | 5655.3547 | 7997 | -2341.6453
MF Retro | 4155.745 | 6065 | -1909.255
MF New | 4155.745 | 6065 | -1909.255
Not including AC
SF Retro | 6771.3004 | 6628 | 143.3004
SF New | 5655.3547 | 4997 | 658.3547
MF Retro | 4155.745 | 3565 | 590.745
MF New | 4155.745 | 3565 | 590.745
| 1990-2010 | 2017-2030*
Cost reduction / learning curve effectg | 0.306 | 0.1836
*this timeframe because it aligns with Snapse study, published in late 2018

## space heat - cost time series
Advanced price - weighted averge over time
SF Retro | 6771.3004
SF New | 5655.3547
MF Retro | 4155.745
MF New | 4155.745
Advanced price
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
SF Retro | 7342 | 7284.1031 | 7226.6627 | 7169.6753 | 7110.8166 | 7052.4411 | 6994.5448 | 6937.1238 | 6880.1741 | 6823.692 | 6767.6736 | 6712.1151 | 6657.0127 | 6602.3626
SF New | 6132 | 6083.6448 | 6035.6709 | 5988.0753 | 5938.9168 | 5890.1619 | 5841.8072 | 5793.8495 | 5746.2855 | 5699.1119 | 5652.3256 | 5605.9234 | 5559.9022 | 5514.2587
MF Retro | 4506 | 4470.467 | 4435.2141 | 4400.2393 | 4364.116 | 4328.2892 | 4292.7566 | 4257.5156 | 4222.564 | 4187.8993 | 4153.5191 | 4119.4212 | 4085.6033 | 4052.0629
MF New | 4506 | 4470.467 | 4435.2141 | 4400.2393 | 4364.116 | 4328.2892 | 4292.7566 | 4257.5156 | 4222.564 | 4187.8993 | 4153.5191 | 4119.4212 | 4085.6033 | 4052.0629
[7 empty] | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
policy strength | [6 empty] | 0.33 | 0.67 | 1 | 1 | 1 | 1 | 1 | 1
intermediate calculations
[7 empty] | 2308.1998 | 4647.8729 | 6880.1741 | 6823.692 | 6767.6736 | 6712.1151 | 6657.0127 | 6602.3626
[7 empty] | 1927.7964 | 3881.8792 | 5746.2855 | 5699.1119 | 5652.3256 | 5605.9234 | 5559.9022 | 5514.2587
[7 empty] | 1416.6097 | 2852.5355 | 4222.564 | 4187.8993 | 4153.5191 | 4119.4212 | 4085.6033 | 4052.0629
[7 empty] | 1416.6097 | 2852.5355 | 4222.564 | 4187.8993 | 4153.5191 | 4119.4212 | 4085.6033 | 4052.0629

## changes over time per NREL f.20
Figure 20. Installed unit costs (left) and performance projections (right) for residential ASHPs for space heating applications
Figure Notes:
Costs
Moderate only |  |  | Installed Cost (2016$/ton) | annual delta (absolute fraction of rated efficiency) | annual % change
2015 | Air Source Heat Pump | Moderate Advancement | 1716
2020 | Air Source Heat Pump | Moderate Advancement | 1648.3406 | -13.5319 | -0.0078857
2030 | Air Source Heat Pump | Moderate Advancement | 1513.0217 | -13.5319 | -0.0082094
2040 | Air Source Heat Pump | Moderate Advancement | 1377.7029 | -13.5319 | -0.0089436
2050 | Air Source Heat Pump | Moderate Advancement | 1242.384 | -13.5319 | -0.0098221
interpolate annual changes to impute future years after 2017.

## base price average
Natural gas alternative
|  | Fraction of future installations through 2030 | contribution to weighted cost
With AC
New SF | 7997 | 0.070676 | 565.1978
New MF | 6065 | 0.071315 | 432.5228
Retro SF | 9628 | 0.43725 | 4209.8087
Retro MF | 6065 | 0.31884 | 1933.7783
Not including AC
New SF | 4997 | 0.0080208 | 40.0802
New MF | 3565 | 0.0080933 | 28.8526
Retro SF | 6628 | 0.049622 | 328.8938
Retro MF | 3565 | 0.036185 | 128.9978
7668.1318

## Forecast of increasing air con
Faction heat only installations | 0.10192
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
fracton of centrally heated homes with central air conditioning | 0.81447 | 0.82901 | 0.84355 | 0.85809 | 0.87263 | 0.88717 | 0.90171 | 0.91626 | 0.92353 | 0.9308 | 0.93807 | 0.94534 | 0.95261 | 0.95988
fraction without
Fraction heat only | 0.18553 | 0.17099 | 0.15645 | 0.14191 | 0.12737 | 0.11283 | 0.098285 | 0.083744 | 0.076474 | 0.069204 | 0.061933 | 0.054663 | 0.047392 | 0.040122
*As with the rate of innovation, even as we have used a year by year look to think about how a trend (increasing cooling) will affect the cost of air source heat pumps, it makes sense to collapse this series
to a simple average for mathematical convenience. The time variance will have to ultimately be collapsed into a single parameter.
Method explanation and calculations
Divide state population into two areas, more or less likely to adopt AC
AC disinclined fraction | 0.052164
Remaining fraction (i.e. rest of state in areas likely to want air conditioning) | 0.94784
Impute lower rate of adoption (half) as the overall statewide level over 2015-2017
annual increment based on 2015-2017 change | 0.01493
assume these increase at a rate half as fast as the rest of the state - implies annual rate of: | 0.0074651
Assume in 2025, the rate of increase falls by half. This is intended to reflect the reducing marginal change as one approaches full saturation of penetration.
In the sheet "method note" such a kink is evident in the southeastern region data starting around 2001 after it exceeded a threshold of 95% of homes with air conditioning.

## climate zone analysis
Using approximations for now.
zone 1&16 assumed to be 3% of total population
then, add San Francisco, too, which is a particularly cool part of zone 3 (even though it got up to 106 degrees on one day in 2018)
SF | 864000
zone 1&16 | 1169485.41
sum of areas least likely to install air conditioning | 2033485.41
fraction of total | 0.052164
statewide popn |  | 38982847
per same source
https://www.energy.ca.gov/maps/renewable/BuildingClimateZonesByZIPCode.pdf
zip codes by California climate zone
zone 16 |  | Popn
| 91023 | ND | ACS DEMOGRAPHIC AND HOUSING ESTIMATES
| 91040 | 20175 | 2013-2017 American Community Survey 5-Year Estimates
| 91042 | 26767
| 94380 |  | American fact finder
94390
| 95389 | 1397
95527
climate zone 1
| 94922 | 555
| 94923 | 751
| 95410 | 951
| 95412 | 431
| 95417 | 359
| 95420 | 752
| 95421 | 1739 | 1140000
| 427 | 203
| 430 | 6
| 432 | 489
| 437 | 14489
Zip Code | Building CZ
12 | 16
16 | 16
17 | 16
18 | 16
19 | 16
20 | 16
22 | 2
26 | 16
28 | 16
29 | 16
31 | 16
32 | 5
33 | 16
34 | 16
35 | 16
37 | 16
38 | 16
39 | 16
40 | 16
44 | 16
47 | 16
48 | 2
49 | 16
50 | 16
51 | 16
52 | 16
54 | 1
55 | 16
58 | 16
65 | 16
90001 | 8
90002 | 8
90003 | 8
90004 | 9
90005 | 9
90006 | 9
90007 | 8
90008 | 8
90011 | 8
90012 | 9
90013 | 9
90014 | 9
90015 | 9
90016 | 8
90017 | 9
90018 | 8
90019 | 9
90020 | 9
90021 | 9
90022 | 9
90023 | 9
90024 | 9
90025 | 6
90026 | 9
90027 | 9
90028 | 9
90029 | 9
90031 | 9
90032 | 9
90033 | 9
90034 | 8
90035 | 9
90036 | 9
90037 | 8
90038 | 9
90039 | 9
90040 | 8
90041 | 9
90042 | 9
90043 | 8
90044 | 8
90045 | 6
90046 | 9
90047 | 8
90048 | 9
90049 | 6
90056 | 8
90057 | 9
90058 | 8
90059 | 8
90061 | 8
90062 | 8
90063 | 9
90064 | 9
90065 | 9
90066 | 6
90067 | 9
90068 | 9
90069 | 9
90071 | 9
90073 | 6
90077 | 9
90089 | 8
90094 | 6
90095 | 9
90201 | 8
90210 | 9
90211 | 9
90212 | 9
90220 | 8
90221 | 8
90222 | 8
90230 | 8
90232 | 8
90240 | 8
90241 | 8
90242 | 8
90245 | 6
90247 | 8
90248 | 8
90249 | 8
90250 | 8
90254 | 6
90255 | 8
90260 | 8
90262 | 8
90263 | 6
90265 | 6
90266 | 6
90270 | 8
90272 | 6
90274 | 6
90275 | 6
90277 | 6
90278 | 6
90280 | 8
90290 | 6
90291 | 6
90292 | 6
90293 | 6
90301 | 8
90302 | 8
90303 | 8
90304 | 8
90305 | 8
90401 | 6
90402 | 6
90403 | 6
90404 | 6
90405 | 6
90501 | 6
90502 | 6
90503 | 6
90504 | 8
90505 | 6
90506 | 8
90601 | 9
90602 | 9
90603 | 9
90604 | 9
90605 | 9
90606 | 9
90620 | 8
90621 | 8
90623 | 8
90630 | 8
90631 | 8
90638 | 9
90639 | 9
90640 | 9
90650 | 8
90660 | 9
90670 | 9
90680 | 8
90701 | 8
90703 | 8
90704 | 6
90706 | 8
90710 | 6
90712 | 8
90713 | 8
90715 | 8
90716 | 8
90717 | 6
90720 | 8
90723 | 8
90731 | 6
90732 | 6
90740 | 6
90742 | 6
90743 | 6
90744 | 6
90745 | 6
90746 | 8
90747 | 8
90755 | 6
90802 | 6
90803 | 6
90804 | 6
90805 | 8
90806 | 6
90807 | 8
90808 | 8
90810 | 6
90813 | 6
90814 | 6
90815 | 6
90822 | 6
90840 | 6
91001 | 9
91006 | 9
91007 | 9
91008 | 9
91010 | 9
91011 | 9
91016 | 9
91020 | 9
91024 | 9
91030 | 9
91040 | 16
91042 | 16
91101 | 9
91103 | 9
91104 | 9
91105 | 9
91106 | 9
91107 | 9
91108 | 9
91123 | 9
91201 | 9
91202 | 9
91203 | 9
91204 | 9
91205 | 9
91206 | 9
91207 | 9
91208 | 9
91214 | 9
91301 | 9
91302 | 9
91303 | 9
91304 | 9
91306 | 9
91307 | 9
91311 | 9
91316 | 9
91320 | 6
91321 | 9
91324 | 9
91325 | 9
91326 | 9
91330 | 9
91331 | 9
91335 | 9
91340 | 9
91342 | 9
91343 | 9
91344 | 9
91345 | 9
91350 | 9
91351 | 9
91352 | 9
91354 | 9
91355 | 9
91356 | 9
91360 | 9
91361 | 9
91362 | 9
91364 | 9
91367 | 9
91371 | 9
91377 | 9
91381 | 9
91384 | 9
91387 | 9
91390 | 16
91401 | 9
91402 | 9
91403 | 9
91405 | 9
91406 | 9
91411 | 9
91423 | 9
91436 | 9
91501 | 9
91502 | 9
91504 | 9
91505 | 9
91506 | 9
91521 | 9
91522 | 9
91523 | 9
91601 | 9
91602 | 9
91604 | 9
91605 | 9
91606 | 9
91607 | 9
91608 | 9
91701 | 10
91702 | 9
91706 | 9
91708 | 10
91709 | 10
91710 | 10
91711 | 9
91722 | 9
91723 | 9
91724 | 9
91730 | 10
91731 | 9
91732 | 9
91733 | 9
91737 | 10
91739 | 10
91740 | 9
91741 | 9
91744 | 9
91745 | 9
91746 | 9
91748 | 9
91750 | 9
91752 | 10
91754 | 9
91755 | 9
91759 | 16
91761 | 10
91762 | 10
91763 | 10
91764 | 10
91765 | 9
91766 | 9
91767 | 9
91768 | 9
91770 | 9
91773 | 9
91775 | 9
91776 | 9
91780 | 9
91784 | 10
91786 | 10
91789 | 9
91790 | 9
91791 | 9
91792 | 9
91801 | 9
91803 | 9
91901 | 10
91902 | 7
91905 | 14
91906 | 14
91910 | 7
91911 | 7
91913 | 7
91914 | 10
91915 | 7
91916 | 14
91917 | 10
91932 | 7
91934 | 14
91935 | 10
91941 | 7
91942 | 7
91945 | 7
91950 | 7
91962 | 14
91963 | 14
91977 | 10
91978 | 10
91980 | 14
92003 | 10
92004 | 15
92007 | 7
92008 | 7
92009 | 7
92010 | 7
92011 | 7
92014 | 7
92019 | 10
92020 | 10
92021 | 10
92024 | 7
92025 | 10
92026 | 10
92027 | 10
92028 | 10
92029 | 10
92036 | 14
92037 | 7
92040 | 10
92054 | 7
92055 | 7
92056 | 7
92057 | 7
92058 | 7
92059 | 10
92060 | 14
92061 | 10
92064 | 10
92065 | 10
92066 | 14
92067 | 7
92069 | 10
92070 | 14
92071 | 10
92075 | 7
92078 | 10
92081 | 7
92082 | 10
92083 | 7
92084 | 7
92086 | 14
92091 | 7
92093 | 7
92096 | 10
92101 | 7
92102 | 7
92103 | 7
92104 | 7
92105 | 7
92106 | 7
92107 | 7
92108 | 7
92109 | 7
92110 | 7
92111 | 7
92113 | 7
92114 | 7
92115 | 7
92116 | 7
92117 | 7
92118 | 7
92119 | 7
92120 | 7
92121 | 7
92122 | 7
92123 | 7
92124 | 7
92126 | 7
92127 | 10
92128 | 10
92129 | 7
92130 | 7
92131 | 10
92134 | 7
92135 | 7
92136 | 7
92139 | 7
92140 | 7
92145 | 7
92152 | 7
92154 | 7
92155 | 7
92173 | 7
92182 | 7
92201 | 15
92203 | 15
92210 | 15
92211 | 15
92220 | 15
92223 | 10
92225 | 15
92227 | 15
92230 | 15
92231 | 15
92233 | 15
92234 | 15
92236 | 15
92239 | 15
92240 | 15
92241 | 15
92242 | 15
92243 | 15
92249 | 15
92250 | 15
92251 | 15
92252 | 14
92253 | 15
92254 | 15
92256 | 14
92257 | 15
92259 | 15
92260 | 15
92262 | 15
92264 | 15
92267 | 15
92270 | 15
92274 | 15
92276 | 15
92277 | 14
92278 | 14
92280 | 15
92281 | 15
92282 | 15
92283 | 15
92284 | 14
92285 | 14
92301 | 14
92304 | 15
92305 | 16
92307 | 14
92308 | 14
92309 | 14
92310 | 14
92311 | 14
92313 | 10
92314 | 16
92315 | 16
92316 | 10
92317 | 16
92318 | 10
92320 | 10
92321 | 16
92322 | 16
92324 | 10
92325 | 16
92327 | 14
92328 | 14
92332 | 14
92333 | 16
92335 | 10
92336 | 10
92337 | 10
92338 | 14
92339 | 16
92341 | 16
92342 | 14
92344 | 14
92345 | 14
92346 | 10
92347 | 14
92350 | 10
92352 | 16
92354 | 10
92356 | 14
92358 | 16
92359 | 16
92363 | 15
92364 | 14
92365 | 14
92368 | 14
92371 | 14
92372 | 14
92373 | 10
92374 | 10
92376 | 10
92377 | 10
92378 | 16
92382 | 16
92384 | 14
92385 | 16
92389 | 14
92391 | 16
92392 | 14
92394 | 14
92395 | 14
92397 | 16
92399 | 10
92401 | 10
92404 | 16
92405 | 10
92407 | 10
92408 | 10
92410 | 10
92411 | 10
92501 | 10
92503 | 10
92504 | 10
92505 | 10
92506 | 10
92507 | 10
92508 | 10
92509 | 10
92518 | 10
92521 | 10
92530 | 10
92532 | 10
92536 | 15
92539 | 16
92543 | 10
92544 | 10
92545 | 10
92548 | 10
92549 | 16
92551 | 10
92553 | 10
92555 | 10
92557 | 10
92561 | 16
92562 | 10
92563 | 10
92567 | 10
92570 | 10
92571 | 10
92582 | 10
92583 | 10
92584 | 10
92585 | 10
92586 | 10
92587 | 10
92590 | 10
92591 | 10
92592 | 10
92595 | 10
92596 | 10
92602 | 8
92603 | 8
92604 | 8
92606 | 8
92610 | 8
92612 | 8
92614 | 8
92617 | 6
92618 | 8
92620 | 8
92624 | 6
92625 | 6
92626 | 6
92627 | 6
92629 | 6
92630 | 8
92637 | 8
92646 | 6
92647 | 6
92648 | 6
92649 | 6
92651 | 6
92653 | 6
92655 | 6
92656 | 6
92657 | 6
92660 | 6
92661 | 6
92662 | 6
92663 | 6
92672 | 6
92673 | 6
92675 | 6
92676 | 8
92677 | 6
92679 | 8
92683 | 6
92688 | 8
92691 | 8
92692 | 8
92694 | 8
92697 | 6
92701 | 8
92702 | 8
92703 | 8
92704 | 8
92705 | 8
92706 | 8
92707 | 8
92708 | 6
92780 | 8
92782 | 8
92801 | 8
92802 | 8
92804 | 8
92805 | 8
92806 | 8
92807 | 8
92808 | 8
92821 | 8
92823 | 8
92831 | 8
92832 | 8
92833 | 8
92835 | 8
92840 | 8
92841 | 8
92843 | 8
92844 | 6
92845 | 8
92860 | 10
92861 | 8
92865 | 8
92866 | 8
92867 | 8
92868 | 8
92869 | 8
92870 | 8
92879 | 10
92880 | 10
92881 | 10
92882 | 10
92883 | 10
92886 | 8
92887 | 8
93001 | 6
93003 | 6
93004 | 6
93010 | 6
93012 | 6
93013 | 6
93015 | 9
93021 | 9
93022 | 9
93023 | 9
93030 | 6
93033 | 6
93035 | 6
93036 | 6
93040 | 9
93041 | 6
93042 | 6
93043 | 6
93060 | 9
93063 | 9
93065 | 9
93066 | 9
93067 | 6
93101 | 6
93103 | 6
93105 | 5
93106 | 6
93108 | 6
93109 | 6
93110 | 6
93111 | 6
93117 | 6
93201 | 13
93202 | 13
93203 | 13
93204 | 13
93205 | 16
93206 | 13
93207 | 13
93210 | 13
93212 | 13
93215 | 13
93219 | 13
93221 | 13
93222 | 16
93223 | 13
93224 | 13
93225 | 16
93226 | 16
93230 | 13
93234 | 13
93235 | 13
93238 | 16
93239 | 13
93240 | 16
93241 | 13
93242 | 13
93243 | 16
93244 | 13
93245 | 13
93247 | 13
93249 | 13
93250 | 13
93251 | 13
93252 | 13
93254 | 4
93255 | 16
93256 | 13
93257 | 13
93260 | 13
93261 | 13
93262 | 16
93263 | 13
93265 | 16
93266 | 13
93267 | 13
93268 | 13
93270 | 13
93271 | 13
93272 | 13
93274 | 13
93276 | 13
93277 | 13
93280 | 13
93283 | 16
93285 | 16
93286 | 13
93287 | 13
93291 | 13
93292 | 13
93301 | 13
93304 | 13
93305 | 13
93306 | 13
93307 | 13
93308 | 13
93309 | 13
93311 | 13
93312 | 13
93313 | 13
93314 | 13
93401 | 5
93402 | 5
93405 | 5
93407 | 5
93420 | 5
93422 | 4
93426 | 4
93427 | 5
93428 | 5
93429 | 5
93430 | 5
93432 | 4
93433 | 5
93434 | 5
93435 | 5
93436 | 5
93437 | 5
93440 | 5
93441 | 5
93442 | 5
93444 | 5
93445 | 5
93446 | 4
93449 | 5
93450 | 4
93451 | 4
93452 | 5
93453 | 4
93454 | 5
93455 | 5
93458 | 5
93460 | 5
93461 | 4
93463 | 5
93465 | 4
93501 | 14
93505 | 14
93510 | 14
93512 | 16
93513 | 16
93514 | 16
93516 | 14
93517 | 16
93518 | 16
93519 | 14
93523 | 14
93524 | 14
93526 | 16
93527 | 16
93528 | 14
93529 | 16
93531 | 16
93532 | 14
93534 | 14
93535 | 14
93536 | 14
93541 | 16
93543 | 14
93544 | 14
93545 | 16
93546 | 16
93550 | 16
93551 | 14
93552 | 14
93553 | 14
93554 | 14
93555 | 14
93560 | 14
93561 | 16
93562 | 14
93563 | 16
93591 | 14
93601 | 13
93602 | 16
93603 | 13
93604 | 16
93608 | 13
93609 | 13
93610 | 13
93611 | 13
93612 | 13
93614 | 13
93615 | 13
93616 | 13
93618 | 13
93619 | 13
93620 | 12
93621 | 13
93622 | 13
93623 | 16
93625 | 13
93626 | 13
93627 | 13
93628 | 16
93630 | 13
93631 | 13
93633 | 16
93634 | 16
93635 | 12
93636 | 13
93637 | 13
93638 | 13
93640 | 13
93641 | 13
93643 | 16
93644 | 13
93645 | 13
93646 | 13
93647 | 13
93648 | 13
93650 | 13
93651 | 13
93652 | 13
93653 | 13
93654 | 13
93656 | 13
93657 | 13
93660 | 13
93662 | 13
93664 | 16
93667 | 13
93668 | 13
93669 | 16
93675 | 13
93701 | 13
93702 | 13
93703 | 13
93704 | 13
93705 | 13
93706 | 13
93710 | 13
93711 | 13
93720 | 13
93721 | 13
93722 | 13
93723 | 13
93725 | 13
93726 | 13
93727 | 13
93728 | 13
93730 | 13
93737 | 13
93741 | 13
93901 | 3
93905 | 3
93906 | 3
93907 | 3
93908 | 3
93920 | 3
93923 | 3
93924 | 3
93925 | 3
93926 | 3
93927 | 3
93930 | 4
93932 | 4
93933 | 3
93940 | 3
93943 | 3
93944 | 3
93950 | 3
93953 | 3
93955 | 3
93960 | 3
94002 | 3
94005 | 3
94010 | 3
94014 | 3
94015 | 3
94019 | 3
94020 | 3
94021 | 3
94022 | 4
94024 | 4
94025 | 3
94027 | 3
94028 | 3
94030 | 3
94035 | 4
94037 | 3
94038 | 3
94040 | 4
94041 | 4
94043 | 4
94044 | 3
94060 | 3
94061 | 3
94062 | 3
94063 | 3
94065 | 3
94066 | 3
94070 | 3
94074 | 3
94080 | 3
94085 | 4
94086 | 4
94087 | 4
94089 | 4
94102 | 3
94103 | 3
94104 | 3
94105 | 3
94107 | 3
94108 | 3
94109 | 3
94110 | 3
94111 | 3
94112 | 3
94114 | 3
94115 | 3
94116 | 3
94117 | 3
94118 | 3
94121 | 3
94122 | 3
94123 | 3
94124 | 3
94127 | 3
94128 | 3
94129 | 3
94130 | 3
94131 | 3
94132 | 3
94133 | 3
94134 | 3
94158 | 3
94301 | 4
94303 | 4
94304 | 4
94305 | 4
94306 | 4
94401 | 3
94402 | 3
94403 | 3
94404 | 3
94501 | 3
94502 | 3
94503 | 2
94505 | 12
94506 | 12
94507 | 12
94508 | 2
94509 | 12
94510 | 12
94511 | 12
94512 | 12
94513 | 12
94514 | 12
94515 | 2
94517 | 12
94518 | 12
94519 | 12
94520 | 12
94521 | 12
94523 | 12
94525 | 12
94526 | 12
94528 | 12
94530 | 3
94531 | 12
94533 | 12
94534 | 12
94535 | 12
94536 | 3
94538 | 3
94539 | 3
94541 | 3
94542 | 3
94544 | 3
94545 | 3
94546 | 3
94547 | 3
94548 | 12
94549 | 12
94550 | 12
94551 | 12
94552 | 3
94553 | 12
94555 | 3
94556 | 12
94558 | 2
94559 | 2
94560 | 3
94561 | 12
94563 | 12
94564 | 3
94565 | 12
94566 | 12
94567 | 2
94568 | 12
94569 | 12
94571 | 12
94572 | 3
94574 | 2
94576 | 2
94577 | 3
94578 | 3
94579 | 3
94580 | 3
94582 | 12
94583 | 12
94585 | 12
94586 | 12
94587 | 3
94588 | 12
94589 | 3
94590 | 3
94591 | 12
94592 | 3
94595 | 12
94596 | 12
94597 | 12
94598 | 12
94599 | 2
94601 | 3
94602 | 3
94603 | 3
94605 | 3
94606 | 3
94607 | 3
94608 | 3
94609 | 3
94610 | 3
94611 | 3
94612 | 3
94613 | 3
94618 | 3
94619 | 3
94621 | 3
94702 | 3
94703 | 3
94704 | 3
94705 | 3
94706 | 3
94707 | 3
94708 | 3
94709 | 3
94710 | 3
94720 | 3
94801 | 3
94803 | 3
94804 | 3
94805 | 3
94806 | 3
94901 | 2
94903 | 2
94904 | 2
94920 | 3
94922 | 1
94923 | 1
94924 | 3
94925 | 3
94928 | 2
94929 | 3
94930 | 2
94931 | 2
94933 | 3
94937 | 3
94938 | 3
94939 | 2
94940 | 3
94941 | 3
94945 | 2
94946 | 2
94947 | 2
94949 | 2
94951 | 2
94952 | 2
94954 | 2
94956 | 3
94960 | 2
94963 | 2
94964 | 2
94965 | 3
94970 | 3
94971 | 3
94972 | 2
94973 | 2
95002 | 4
95003 | 3
95004 | 4
95005 | 3
95006 | 3
95008 | 4
95010 | 3
95012 | 3
95013 | 4
95014 | 4
95017 | 3
95018 | 3
95019 | 3
95020 | 4
95023 | 4
95030 | 4
95032 | 4
95033 | 4
95035 | 4
95037 | 4
95039 | 3
95043 | 4
95045 | 4
95046 | 4
95050 | 4
95051 | 4
95053 | 4
95054 | 4
95060 | 3
95062 | 3
95064 | 3
95065 | 3
95066 | 3
95070 | 4
95073 | 3
95076 | 3
95110 | 4
95111 | 4
95112 | 4
95113 | 4
95116 | 4
95117 | 4
95118 | 4
95119 | 4
95120 | 4
95121 | 4
95122 | 4
95123 | 4
95124 | 4
95125 | 4
95126 | 4
95127 | 4
95128 | 4
95129 | 4
95130 | 4
95131 | 4
95132 | 4
95133 | 4
95134 | 4
95135 | 4
95136 | 4
95138 | 4
95139 | 4
95140 | 4
95141 | 4
95148 | 4
95192 | 4
95202 | 12
95203 | 12
95204 | 12
95205 | 12
95206 | 12
95207 | 12
95209 | 12
95210 | 12
95211 | 12
95212 | 12
95215 | 12
95219 | 12
95220 | 12
95222 | 12
95223 | 16
95228 | 12
95230 | 12
95231 | 12
95232 | 12
95236 | 12
95237 | 12
95240 | 12
95242 | 12
95245 | 12
95246 | 12
95247 | 12
95249 | 12
95251 | 12
95252 | 12
95253 | 12
95255 | 12
95257 | 12
95258 | 12
95301 | 12
95303 | 12
95304 | 12
95305 | 12
95306 | 12
95307 | 12
95310 | 12
95311 | 12
95313 | 12
95315 | 12
95316 | 12
95317 | 12
95318 | 16
95319 | 12
95320 | 12
95321 | 12
95322 | 12
95323 | 12
95324 | 12
95326 | 12
95327 | 12
95328 | 12
95329 | 12
95330 | 12
95333 | 12
95334 | 12
95335 | 16
95336 | 12
95337 | 12
95338 | 12
95340 | 12
95341 | 12
95345 | 12
95346 | 16
95348 | 12
95350 | 12
95351 | 12
95354 | 12
95355 | 12
95356 | 12
95357 | 12
95358 | 12
95360 | 12
95361 | 12
95363 | 12
95364 | 16
95365 | 12
95366 | 12
95367 | 12
95368 | 12
95369 | 12
95370 | 12
95372 | 12
95374 | 12
95376 | 12
95377 | 12
95379 | 12
95380 | 12
95382 | 12
95383 | 12
95385 | 12
95386 | 12
95388 | 12
95389 | 16
95391 | 12
95401 | 2
95403 | 2
95404 | 2
95405 | 2
95407 | 2
95409 | 2
95410 | 1
95412 | 1
95415 | 2
95417 | 1
95420 | 1
95421 | 1
95422 | 2
95423 | 2
95425 | 2
95426 | 2
95427 | 1
95428 | 2
95429 | 2
95432 | 1
95436 | 2
95437 | 1
95439 | 2
95441 | 2
95442 | 2
95443 | 2
95444 | 2
95445 | 1
95446 | 2
95448 | 2
95449 | 2
95450 | 1
95451 | 2
95452 | 2
95453 | 2
95454 | 2
95456 | 1
95457 | 2
95458 | 2
95459 | 1
95460 | 1
95461 | 2
95462 | 1
95463 | 2
95464 | 2
95465 | 1
95466 | 2
95467 | 2
95468 | 1
95469 | 2
95470 | 2
95472 | 2
95476 | 2
95482 | 2
95485 | 2
95488 | 1
95490 | 2
95492 | 2
95493 | 2
95494 | 2
95497 | 1
95501 | 1
95503 | 1
95511 | 2
95514 | 2
95519 | 1
95521 | 1
95524 | 1
95525 | 1
95526 | 2
95527 | 16
95528 | 1
95531 | 1
95536 | 1
95540 | 1
95542 | 2
95543 | 16
95546 | 2
95547 | 1
95548 | 1
95549 | 1
95550 | 2
95551 | 1
95552 | 2
95554 | 2
95555 | 1
95556 | 2
95558 | 1
95560 | 2
95562 | 1
95563 | 16
95564 | 1
95565 | 1
95567 | 1
95568 | 16
95569 | 2
95570 | 1
95573 | 2
95585 | 1
95587 | 2
95589 | 1
95595 | 2
95602 | 11
95603 | 11
95605 | 12
95606 | 12
95607 | 12
95608 | 12
95610 | 12
95612 | 12
95614 | 12
95615 | 12
95616 | 12
95618 | 12
95619 | 12
95620 | 12
95621 | 12
95623 | 12
95624 | 12
95626 | 12
95627 | 12
95628 | 12
95629 | 12
95630 | 12
95631 | 16
95632 | 12
95633 | 12
95634 | 12
95635 | 12
95636 | 16
95637 | 12
95638 | 12
95639 | 12
95640 | 12
95641 | 12
95642 | 12
95645 | 11
95648 | 11
95650 | 11
95651 | 12
95652 | 12
95653 | 12
95655 | 12
95658 | 11
95659 | 11
95660 | 12
95661 | 11
95662 | 12
95663 | 11
95664 | 12
95665 | 12
95666 | 16
95667 | 12
95668 | 11
95669 | 12
95670 | 12
95672 | 12
95673 | 12
95674 | 11
95677 | 11
95678 | 11
95679 | 12
95681 | 11
95682 | 12
95683 | 12
95684 | 12
95685 | 12
95686 | 12
95687 | 12
95688 | 12
95689 | 12
95690 | 12
95691 | 12
95692 | 11
95693 | 12
95694 | 12
95695 | 12
95698 | 12
95699 | 12
95701 | 16
95703 | 11
95709 | 12
95713 | 11
95714 | 16
95715 | 16
95717 | 16
95720 | 16
95721 | 16
95722 | 11
95724 | 16
95726 | 16
95728 | 16
95735 | 16
95742 | 12
95746 | 11
95747 | 11
95757 | 12
95758 | 12
95762 | 12
95765 | 11
95776 | 12
95811 | 12
95814 | 12
95815 | 12
95816 | 12
95817 | 12
95818 | 12
95819 | 12
95820 | 12
95821 | 12
95822 | 12
95823 | 12
95824 | 12
95825 | 12
95826 | 12
95827 | 12
95828 | 12
95829 | 12
95830 | 12
95831 | 12
95832 | 12
95833 | 12
95834 | 12
95835 | 12
95836 | 12
95837 | 12
95838 | 12
95841 | 12
95842 | 12
95843 | 12
95864 | 12
95901 | 11
95903 | 11
95910 | 16
95912 | 11
95914 | 11
95915 | 16
95916 | 16
95917 | 11
95918 | 11
95919 | 11
95920 | 11
95922 | 16
95923 | 16
95925 | 16
95926 | 11
95928 | 11
95932 | 11
95934 | 16
95935 | 11
95936 | 16
95937 | 12
95938 | 11
95939 | 11
95941 | 16
95942 | 16
95943 | 11
95944 | 16
95945 | 11
95946 | 11
95947 | 16
95948 | 11
95949 | 11
95950 | 16
95951 | 11
95953 | 11
95954 | 16
95955 | 11
95956 | 16
95957 | 11
95959 | 11
95960 | 16
95961 | 11
95962 | 11
95963 | 11
95965 | 11
95966 | 11
95968 | 11
95969 | 11
95970 | 11
95971 | 16
95972 | 11
95973 | 11
95975 | 11
95977 | 11
95979 | 11
95981 | 16
95982 | 11
95983 | 16
95984 | 16
95987 | 11
95988 | 11
95991 | 11
95993 | 11
96001 | 11
96002 | 11
96003 | 11
96006 | 16
96007 | 11
96008 | 11
96010 | 16
96013 | 16
96014 | 16
96015 | 16
96016 | 16
96017 | 16
96019 | 11
96020 | 16
96021 | 11
96022 | 11
96023 | 16
96024 | 16
96025 | 16
96027 | 16
96028 | 16
96031 | 16
96032 | 16
96033 | 11
96034 | 16
96035 | 11
96038 | 16
96039 | 16
96040 | 16
96041 | 16
96044 | 16
96046 | 16
96047 | 11
96048 | 16
96050 | 16
96051 | 11
96052 | 16
96054 | 16
96055 | 11
96056 | 16
96057 | 16
96058 | 16
96059 | 11
96061 | 16
96062 | 11
96063 | 16
96064 | 16
96065 | 16
96067 | 16
96069 | 11
96071 | 16
96073 | 11
96075 | 16
96076 | 16
96080 | 11
96084 | 11
96085 | 16
96086 | 16
96087 | 11
96088 | 11
96091 | 16
96093 | 16
96094 | 16
96096 | 11
96097 | 16
96101 | 16
96103 | 16
96104 | 16
96105 | 16
96106 | 16
96107 | 16
96108 | 16
96109 | 16
96111 | 16
96112 | 16
96113 | 16
96114 | 16
96115 | 16
96116 | 16
96117 | 16
96118 | 16
96119 | 16
96120 | 16
96121 | 16
96122 | 16
96123 | 16
96124 | 16
96125 | 16
96126 | 16
96128 | 16
96129 | 16
96130 | 16
96132 | 16
96133 | 16
96134 | 16
96136 | 16
96137 | 16
96140 | 16
96141 | 16
96142 | 16
96143 | 16
96145 | 16
96146 | 16
96148 | 16
96150 | 16
96161 | 16
96162 | 16

## 2017-2015 change in AHS
| 2017 | 2015
Total | 13180 | 12942.3
Warm-air furnace | 9330 | 9168.6
Central air conditioning | 7599 | 7131.4
fraction of homes with
NG furnace | 0.70789 | 0.70842
Central air | 0.57656 | 0.55101
increase in central air use as percent of all homes | 0.02554
ratio of central air units over NG furnace units | 0.81447 | 0.77781
increase in the ratio of central air over NG furnace | 0.036663

## 2017 american housing survey
Westwide coverage for AC increased to 60% by 2009 and trend toward more and more air conditioning.
https://www.eia.gov/consumption/residential/reports/2009/air-conditioning.php
2017 California - Heating, Air Conditioning, and Appliances - All Occupied Units
https://www.census.gov/programs-surveys/ahs/data/interactive/ahstablecreator.html#?s_areas=a00006&s_year=s2017&s_tableName=Table3&s_byGroup1=a1&s_byGroup2=a1&s_filterGroup1=t1&s_filterGroup2=g1&s_show=S
Subject Definitions
Characteristics | Estimate
Total | 13180
Units Using Each Fuel1
Electricity | 13140
Gas | 12310
Fuel oil | 100
Other | 789.3
Main Heating Equipment
Warm-air furnace | 9330
Steam or hot water system | 132.9
Electric heat pump | 249.7
Built-in electric units | 513.2
Floor, wall, or other built-in hot-air units without ducts | 2041
Room heaters with flue | 81
Room heaters without flue | 59
Portable electric heaters | 432.2
Stoves | 82.5
Fireplaces with inserts | 25.1
Fireplaces without inserts | 19.3
Cooking stove | 11
Other | 50.1
None | 150.6
Main House Heating Fuel
Housing units with heating fuel | 13030
Electricity | S
Piped gas | S
Bottled gas | S
Fuel oil | S
Kerosene or other liquid fuel | S
Coal or coke | S
Wood | S
Solar energy | S
Other | S
Supplemental Heating Equipment1
Warm-air furnace | 299.4
Steam or hot water system | S
Electric heat pump | 9.8
Built-in electric units | 74.2
Floor, wall, or other built-in hot-air units without ducts | 65.5
Room heaters with flue | 31.8
Room heaters without flue | 42.3
Portable electric heaters | 971.9
Stoves | 116.9
Outdoor wood fired boiler | S
Gas oven with the door open | 17.1
Cooking stove | 469.5
Other | 89
Not reported | 16.5
No supplemental heating | 11100
Primary Air Conditioning
With primary air conditioning | 9630
Central air conditioning | 7599
Powered by:
Electric | 7129
Piped gas | 438.9
Liquid propane gas | 27.8
Other | 3.5
Room air conditioning | 2031
Unit has 1 room air conditioner | S
Unit has 2 room air conditioners | S
Unit has 3 room air conditioners | S
Unit has 4 room air conditioners | S
Unit has 5 room air conditioners | S
Unit has 6 room air conditioners | S
Unit has 7 or more room air conditioners | S
Unit does not have air conditioning | 3547
Secondary Air Conditioning
With secondary air conditioning | 1223
Central air conditioning | 793.8
Powered by:
Electric | 744.4
Piped gas | 39.5
Liquid propane gas | .
Other | 9.9
Room air conditioning | 429.6
Unit has 1 room air conditioner | S
Unit has 2 room air conditioners | S
Unit has 3 room air conditioners | S
Unit has 4 room air conditioners | S
Unit has 5 room air conditioners | S
Unit has 6 room air conditioners | S
Unit has 7 or more room air conditioners | S
Unit does not have secondary air conditioning | 11950
Water Heating Fuel
With hot piped water | 13140
Electricity | 2164
Piped gas | 10530
Bottled gas | 425.1
Fuel oil | .
Solar energy | 11.2
Other | 12.7
Kitchen Equipment1
With complete kitchen (sink, refrigerator, and oven or burners) | 12960
Lacking complete kitchen facilities | 216.9
Kitchen sink | 13140
Refrigerator | 13120
Cooking stove or range | 13030
Burners, no stove or range | 34.5
Microwave oven only | 63.3
Dishwasher | 9470
Laundry Equipment1
Washing machine | 10250
Clothes dryer | 10030
Cooking Fuel
With cooking fuel | 13130
Electricity | 3954
Piped gas | 8809
Bottled gas | 359.6
Other | 6.9
Clothes Dryer Fuel
With clothes dryer | 10030
Electricity | 4707
Piped gas | 5164
Bottled gas | 156.1
Other | 6.4
Carbon Monoxide Detector
Yes | 10400
No | 2550
Not reported | 227.6
Solar Panels
Yes | 1107
No | 12030
Not reported | 42

## 2015 american housing survey
Characteristics | Estimate
Total | 12942.3
Units Using Each Fuel1
Electricity | 12912.9
Gas | 12151.9
Fuel oil | 62.2
Other | 735.6
Main Heating Equipment
Warm-air furnace | 9168.6
Steam or hot water system | 132.7
Electric heat pump | 320.2
Built-in electric units | 440.6
Floor, wall, or other built-in hot-air units without ducts | 1967.7
Room heaters with flue | 67.4
Room heaters without flue | 53.7
Portable electric heaters | 405.6
Stoves | 83.1
Fireplaces with inserts | 21.7
Fireplaces without inserts | 22
Cooking stove | 7
Other | 87
None | 164.9
Main House Heating Fuel
Housing units with heating fuel | 12777.3
Electricity | 3978.7
Piped gas | 8277
Bottled gas | 295.4
Fuel oil | 7.4
Kerosene or other liquid fuel | 40.4
Coal or coke | .
Wood | 119.9
Solar energy | 9.8
Other | 48.8
Primary Air Conditioning
With primary air conditioning | 8954.1
Central air conditioning | 7131.4
Powered by:
Electric | 6564.9
Piped gas | 522.2
Liquid propane gas | 23.5
Other | 20.8
Room air conditioning | 1822.7
Unit has 1 room air conditioner | 1265.4
Unit has 2 room air conditioners | 416.9
Unit has 3 room air conditioners | 104.1
Unit has 4 room air conditioners | 26.6
Unit has 5 room air conditioners | 2.5
Unit has 6 room air conditioners | 1.8
Unit has 7 or more room air conditioners | 5.4
Unit does not have air conditioning | 3988.1
Secondary Air Conditioning
With secondary air conditioning | 1024.2
Central air conditioning | 721.5
Powered by:
Electric | 683.6
Piped gas | 28.9
Liquid propane gas | .
Other | 9
Room air conditioning | 302.7
Unit has 1 room air conditioner | 212.9
Unit has 2 room air conditioners | 55.3
Unit has 3 room air conditioners | 21.6
Unit has 4 room air conditioners | 5.2
Unit has 5 room air conditioners | 4.6
Unit has 6 room air conditioners | 2.4
Unit has 7 or more room air conditioners | 0.7
Unit does not have secondary air conditioning | 11918.1
Water Heating Fuel
With hot piped water | 12925.4
Electricity | 2040.6
Piped gas | 10491.4
Bottled gas | 355.7
Fuel oil | 3.6
Solar energy | 8.4
Other | 25.7
Kitchen Equipment1
With complete kitchen (sink, refrigerator, and oven or burners) | 12673.5
Lacking complete kitchen facilities | 268.8
Kitchen sink | 12831.8
Refrigerator | 12823.1
Cooking stove or range | 12786.9
Burners, no stove or range | 31.5
Microwave oven only | 70.1
Dishwasher | 8702.4
Laundry Equipment1
Washing machine | 9782.3
Clothes dryer | 9556.4
Cooking Fuel
With cooking fuel | 12886.1
Electricity | 3879.9
Piped gas | 8667.3
Bottled gas | 322.6
Other | 16.3
Clothes Dryer Fuel
With clothes dryer | 9556.4
Electricity | 4459.1
Piped gas | 4946.1
Bottled gas | 146.8
Other | 4.5

## single vs multi for new
New dwelling breakdown between multifamily and single
| # | %
Total | 114780
single | 57132 | 0.49775
MF | 59522 | 0.51857

## single vs multi existing bldgs
American Housing Survey, UC Census Bureau, 2017
2017 California - General Housing Data - All Occupied Units
[Estimates and Margins of Error in thousands of housing units, except as indicated. Figures may not add to total due to rounding of estimates. Margin of Error is calculated at the 90% confidence interval. Weighting consistent with Census 2010. Blank cells represent zero; Z rounds to zero; '.' Represents not applicable or no cases in sample; S represents estimates that did not meet publication standards]
Subject Definitions
Characteristics | Estimate
Total | 13180 | fraction single | 0.5783
fraction multi
Units in Structure
1, detached | 7622
1, attached | 1132
2 to 4 | 994.7
5 to 9 | 838.5
10 to 19 | 694.1
20 to 49 | 619.8
50 or more | 810.9
Manufactured/mobile home or trailer | 450.8
Other (Boat, RV, van, etc.) | 14.5
Cooperatives and Condominiums
Cooperatives | 87.4
Condominiums | 1180
Member of Any Type of Cooperative or Association
Member of condominium association only | 232.1
Member of cooperative only | 41.4
Member of homeowners association only | 1560
Member of condominium association and homeowners association | 939
Member of cooperative and homeowners association | 43.7
No membership | 10250
Membership not reported | 109.9
Year Structure Built1,2
2016 to 2017 | 87.1
2010 to 2015 | 342.1
2005 to 2009 | 710.9
2000 to 2004 | 788.7
1995 to 1999 | 685.1
1990 to 1994 | 654.9
1985 to 1989 | 1109
1980 to 1984 | 908.9
1970 to 1979 | 2216
1960 to 1969 | 1563
1950 to 1959 | 1850
1940 to 1949 | 862.8
1930 to 1939 | 382.5
1920 to 1929 | 568.3
1919 or earlier | 447.2
Median (year) | 1974
Stories in Structure3
1 | 5918
2 | 5144
3 | 1100
4 to 6 | 427.9
7 or more | 121.3
Access to Structure
Entering building from outside4 | 3958
Use of steps not required | 1943
Use of steps required | 2010
Use of steps not reported | 4.9
Entering home from outside5 | 9219
Use of steps not required | 6004
Use of steps required | 3206
Use of steps not reported | 8.6
Foundation Type
Single-family, attached and detached:
Basement under all of house | 144.5
Basement under part of house | 223.3
Crawl space | 2707
Concrete slab | 5507
Manufactured/mobile homes:
Mobile home set on masonry foundation | S
Mobile home resting on concrete pad | S
Mobile home up on blocks, but not on concrete pad | S
Mobile home foundation not reported | S
Foundation setup in some other way | S
Manufactured/Mobile Home Anchoring
Manufactured/mobile homes | 450.8
Anchored by tiedowns, bolts, or other means | 358.3
Not anchored | 74.9
Anchoring not reported | 17.5
Manufactured/Mobile Home Size
Manufactured/mobile homes | 450.8
Single-wide | S
Double-wide | S
Triple-wide or larger | S
Size not reported | S
Manufactured/Mobile Homes in Group
Manufactured/mobile homes | 450.8
1 to 6 | 198.4
7 to 20 | 14.8
21 or more | 237.6
1For manufactured/mobile homes, oldest category is 1939 or earlier.
2Median is estimated from the printed distribution; see Subject Definitions.
3Figures exclude manufactured\mobile homes and boats, RVs, vans, etc.
4Restricted to multiunits.
5Restricted to single units.
Source: U.S. Census Bureau, American Housing Survey.
Generated on: 08FEB19:11:25:32

## Stock in scoping plan
Stock
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Electric Radiator | 1353820.5563 | 1361723.683 | 1371967.5989 | 1381758.9092 | 1391126.9608 | 1400082.479 | 1410029.0269 | 1420006.1456 | 1429898.934 | 1439670.9429 | 1449522.6271 | 1459203.4689 | 1468291.4791 | 1477247.0559 | 1485883.9468 | 1495101.2381 | 1504683.8222 | 1513536.2698 | 1522112.6187 | 1530084.9242 | 1537926.3564 | 1545761.258 | 1553270.3533 | 1560362.3862 | 1567322.5611 | 1574077.1814 | 1580635.1442 | 1587004.9711 | 1593161.6846 | 1599074.5927 | 1604793.7682 | 1610363.7743 | 1615778.5063 | 1620911.2888
Electric Heat Pump | 322893.9191 | 324778.8599 | 327222.0922 | 329557.3756 | 331791.7093 | 333927.6514 | 336299.9598 | 338679.5594 | 341039.0459 | 343369.7257 | 345719.4085 | 348028.3445 | 350195.8867 | 352331.8428 | 354391.7905 | 356590.167 | 358875.668 | 360987.0272 | 363032.5353 | 364933.9756 | 366804.2018 | 368672.8705 | 370463.8326 | 372155.3228 | 373815.3642 | 375426.3797 | 376990.4911 | 378509.7312 | 379978.1424 | 381388.4047 | 382752.4607 | 384080.9389 | 385372.3833 | 386596.5812
High Efficiency Electric Heat Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference Natural Gas Furnace | 7948327.1945 | 7968750.3831 | 7965167.8144 | 7892620.6139 | 7733920.6092 | 7503812.2189 | 7233171.0666 | 6940825.2295 | 6637381.7725 | 6327962.9784 | 6015355.153 | 5700775.4574 | 5384844.468 | 5069051.6272 | 4754238.4511 | 4442789.829 | 4136278.1211 | 3835699.0739 | 3544447.72 | 3265194.1258 | 3001585.3735 | 2756572.1785 | 2531974.0502 | 2328844.4841 | 2147689.3669 | 1987651.9755 | 1846936.8745 | 1723236.7225 | 1613868.6705 | 1516128.3451 | 1427522.8931 | 1345986.7547 | 1269775.0949 | 1197443.7216
High Efficiency Natural Gas Furnace | 17264.1917 | 43341.3148 | 107196.8997 | 237354.0817 | 451173.7039 | 733974.4529 | 1063138.9713 | 1414188.0469 | 1775838.561 | 2142753.7707 | 2513326.8048 | 2884866.5087 | 3254269.4116 | 3622754.956 | 3988385.7561 | 4354066.954 | 4716960.5431 | 5069625.5036 | 5411338.2653 | 5737499.2042 | 6047245.2714 | 6338357.3558 | 6607137.3996 | 6851994.9745 | 7074102.2761 | 7273882.4128 | 7453183.1678 | 7614362.0228 | 7759954.8637 | 7892485.4793 | 8014741.3399 | 8129050.2062 | 8237120.9942 | 8339652.565
Reference Natural Gas Radiator | 2804340.5779 | 2813796.8718 | 2818030.0002 | 2804080.8144 | 2767947.9092 | 2713924.4826 | 2650282.0551 | 2581482.2498 | 2509902.0118 | 2436409.8702 | 2361354.2332 | 2284722.7998 | 2206324.9608 | 2126425.8221 | 2045067.9763 | 1962772.9656 | 1879659.0796 | 1795547.8599 | 1710888.9287 | 1625860.6638 | 1541036.866 | 1456906.7577 | 1373793.0825 | 1292211.7044 | 1212937.9955 | 1136540.5768 | 1063705.3596 | 995034.6025 | 931023.8718 | 872019.6167 | 818241.2993 | 769679.8804 | 726153.4123 | 687259.8597
High Efficiency Natural Gas Radiator | 4703.7708 | 11645.6866 | 28667.675 | 62932.8656 | 118503.5555 | 191108.8004 | 275389.3354 | 364890.6797 | 456997.4796 | 550765.5773 | 646262.489 | 742980.7159 | 840235.2812 | 938716.3599 | 1037994.9039 | 1139414.8865 | 1242411.691 | 1344890.8677 | 1447344.8785 | 1548914.8922 | 1650008.8897 | 1750395.6473 | 1849089.956 | 1945386.604 | 2039101.9905 | 2129514.5812 | 2215956.9254 | 2297844.4462 | 2374629.7511 | 2445902.7084 | 2511547.7517 | 2571666.3849 | 2626427.8887 | 2675971.4596
Reference LPG Furnace | 358190.927 | 360281.9192 | 362992.2324 | 365582.7962 | 368061.3751 | 370430.8069 | 373062.4431 | 375702.1676 | 378319.5803 | 380905.0374 | 383511.5748 | 386072.911 | 388477.3972 | 390846.8444 | 393131.9744 | 395570.6655 | 398106.005 | 400448.1665 | 402717.2784 | 404826.5738 | 406901.2431 | 408974.1844 | 410960.9247 | 412837.3195 | 414678.8276 | 416465.9505 | 418201.0421 | 419886.3572 | 421515.2872 | 423079.7117 | 424592.8788 | 426066.5791 | 427499.1972 | 428857.2177
None | 777619.5802 | 782159.049 | 788043.0412 | 793667.0617 | 799047.9671 | 804191.9179 | 809905.1052 | 815635.852 | 821318.1605 | 826931.0944 | 832589.7931 | 838150.3617 | 843370.4145 | 848514.3989 | 853475.3337 | 858769.644 | 864273.7745 | 869358.5227 | 874284.6828 | 878863.8871 | 883367.9192 | 887868.2001 | 892181.3416 | 896254.927 | 900252.7746 | 904132.5539 | 907899.3753 | 911558.1336 | 915094.4818 | 918490.791 | 921775.8222 | 924975.1722 | 928085.3345 | 931033.5481
Stock additions in Scoping Plan
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Electric Radiator | 71532.8706 | 69187.6734 | 72262.7187 | 72710.0419 | 73302.7707 | 73966.6817 | 76018.2142 | 77026.9326 | 77786.8553 | 78329.2354 | 78907.0181 | 79085.1705 | 78721.521 | 78749.7979 | 78561.2037 | 79283.8082 | 79822.101 | 79327.9167 | 79339.3998 | 79104.0948 | 79423.7018 | 79943.1161 | 80199.4498 | 80433.0805 | 80987.1908 | 81462.7108 | 81951.7743 | 82410.7122 | 82792.5999 | 83072.9153 | 83342.0308 | 83575.8304 | 83742.5648 | 83727.6106
Electric Heat Pump | 21334.4842 | 20940.8261 | 21794.9021 | 21958.467 | 22085.9473 | 22158.2036 | 22513.626 | 22597.8305 | 22631.0144 | 22650.5677 | 22727.3617 | 22769.4992 | 22734.3185 | 22834.9478 | 22919.2101 | 23230.0874 | 23505.8497 | 23523.8851 | 23648.3556 | 23688.6039 | 23830.3179 | 23985.0968 | 24050.0181 | 24074.9693 | 24155.6824 | 24208.407 | 24260.3376 | 24313.1955 | 24365.5176 | 24413.7667 | 24481.1253 | 24561.3105 | 24642.4383 | 24691.5982
High Efficiency Electric Heat Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference Natural Gas Furnace | 410196.8611 | 381008.3497 | 361322.7332 | 297652.9162 | 217477.501 | 152401.4738 | 118105.191 | 102146.9623 | 95993.655 | 93861.2724 | 93454.375 | 93191.1977 | 92465.4074 | 92164.4692 | 91423.7998 | 91426.3637 | 90725.6637 | 88167.0696 | 85428.4931 | 81540.3436 | 77436.5557 | 72778.0349 | 67195.0157 | 61214.3954 | 55526.826 | 49945.0343 | 44825.1888 | 40294.7138 | 36398.2102 | 33132.6539 | 30563.9651 | 28577.2166 | 27017.697 | 25632.8927
High Efficiency Natural Gas Furnace | 10687.2916 | 26077.1627 | 63855.6899 | 130157.4616 | 213820.3662 | 282802.7042 | 329169.7668 | 351063.0796 | 361687.6099 | 367011.2413 | 370817.6888 | 372129.0767 | 370715.2309 | 371182.5442 | 370813.5658 | 375062.6527 | 378930.5526 | 378581.472 | 381387.6122 | 383891.2776 | 389875.5647 | 397590.2085 | 404681.4404 | 412036.6938 | 420984.5305 | 429364.18 | 437361.5712 | 444592.339 | 450735.7881 | 455650.6605 | 459802.7672 | 463165.1427 | 465705.6921 | 467002.5092
Reference Natural Gas Radiator | 111434.4947 | 101427.1347 | 96317.8303 | 78360.1315 | 56521.355 | 39127.005 | 30240.1022 | 26042.7703 | 24448.1012 | 23986.9941 | 24083.2532 | 24259.2846 | 24343.8342 | 24631.784 | 24824.0075 | 25356.6775 | 25749.8444 | 25620.0352 | 25613.5934 | 25392.5373 | 25273.5121 | 25096.6941 | 24673.5789 | 24074.1626 | 23428.8469 | 22603.1478 | 21610.5861 | 20471.8802 | 19196.3262 | 17818.2393 | 16411.2608 | 15029.6583 | 13690.3759 | 12385.8927
High Efficiency Natural Gas Radiator | 2903.3164 | 6941.9159 | 17021.9887 | 34265.1913 | 55570.692 | 72605.2503 | 84280.5495 | 89501.383 | 92106.9026 | 93768.3626 | 95497.6488 | 96720.1495 | 97259.6341 | 98493.7867 | 99310.7782 | 101492.953 | 103149.7001 | 102778.8518 | 103020.4511 | 102590.2187 | 102852.0021 | 103272.5395 | 103220.7155 | 103098.5005 | 103538.8372 | 104075.6355 | 104789.0638 | 105729.1868 | 106819.9777 | 108032.8814 | 109456.2091 | 111076.4265 | 112734.8406 | 114202.2326
Reference LPG Furnace | 18926.0128 | 18305.5256 | 19119.1145 | 19237.4663 | 19394.2892 | 19569.9453 | 20112.7354 | 20379.6199 | 20580.6786 | 20724.1804 | 20877.0489 | 20924.1841 | 20827.9705 | 20835.4519 | 20785.5541 | 20976.7392 | 21119.1596 | 20988.4094 | 20991.4475 | 20929.191 | 21013.752 | 21151.1775 | 21218.9977 | 21280.8112 | 21427.4165 | 21553.2286 | 21682.6239 | 21804.0488 | 21905.0878 | 21979.253 | 22050.455 | 22112.3132 | 22156.4274 | 22152.4709
sum of additions | 647015.3314 | 623888.588 | 651694.9775 | 654341.6757 | 658172.9215 | 662631.2639 | 680440.185 | 688758.5782 | 695234.8171 | 700331.8538 | 706364.3945 | 709078.5622 | 707067.9165 | 708892.7816
sum of additions 2020-2030 | 9493913.847
sum of stock | 12809541.1374 | 12884318.7184 | 12981244.3129 | 13073887.4566 | 13162525.8229 | 13247260.8922 | 13341372.8582 | 13435774.0785 | 13529377.3852 | 13621837.9025 | 13715052.2904 | 13806650.2062 | 13892638.8846 | 13977374.5083

## HP water heater - time series
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
at rapid scenario pace | 2500 | 2414.5729 | 2332.0648 | 2252.3762 | 2211.4239 | 2171.2162 | 2131.7395 | 2092.9806 | 2054.9264 | 2017.5641 | 1980.8812 | 1944.8651 | 1909.504 | 1874.7857
weighted average | 2002.5343
weighting for weighted cost assuming policy implication schedule ramps up to full strength in 2025. | [5 empty] | 0.33 | 0.67 | 1 | 1 | 1 | 1 | 1 | 1 | 1
sum of weights | 8
At moderate rapid scenario pace
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
installed cost | 2500 | 2394.4724 | 2293.3992 | 2196.5924 | 2148.3233 | 2101.1149 | 2054.9439 | 2009.7875 | 1965.6234 | 1922.4297 | 1880.1853 | 1838.8691 | 1798.4608 | 1758.9405
Start year cost dta
The HPWH scenario, by contrast, would cost $2,500 to install an appliance with a rated UEF of 3.7, and an annual average coefficient of performance of 3.1 to 3.2 (typical of the most efficient available mass market hybrid HPWH in the California climate). We based our installed cost figures on research conducted by NRDC,120 supported by similar research we conducted directly.

## changes over time per NREL f.21
Figure 21. Installed unit costs (left) and performance projections (right) for residential HPWHs
Figure Notes: | Installed costs include both capital and installation costs. Costs are shown for a 50-gallon HPWH.
Year | Technology | EFS Case |  | Installed Cost ($ per unit) | annual delta (absolute fraction of rated efficiency) | annual % change
2015 | Heat Pump Water Heater |  |  | 1990
2020 | Heat Pump Water Heater |  |  | 1650 | -68 | -0.034171
2030 | Heat Pump Water Heater |  |  | 1350 | -30 | -0.018182
2040 | Heat Pump Water Heater |  |  | 1100 | -25 | -0.018519
2050 | Heat Pump Water Heater |  |  | 1000 | -10 | -0.0090909
full set of Fig. 21 data
Figure 21. Installed unit costs (left) and performance projections (right) for residential HPWHs
Figure Notes: | Installed costs include both capital and installation costs. Costs are shown for a 50-gallon HPWH.
Year | Technology | EFS Case | Installed Cost ($ per unit) | Efficiency Energy Factor)
2015 | Heat Pump Water Heater | Moderate Advancement | 1990 | 2.45
2015 | Heat Pump Water Heater | Rapid Advancement | 1990 | 2.45
2015 | Heat Pump Water Heater | Slow Advancement | 1990 | 2.45
2020 | Heat Pump Water Heater | Moderate Advancement | 1650 | 3
2020 | Heat Pump Water Heater | Rapid Advancement | 1490 | 3.5
2020 | Heat Pump Water Heater | Slow Advancement | 1800 | 3
2030 | Heat Pump Water Heater | Moderate Advancement | 1350 | 3.5
2030 | Heat Pump Water Heater | Rapid Advancement | 1100 | 3.8
2030 | Heat Pump Water Heater | Slow Advancement | 1500 | 3.25
2040 | Heat Pump Water Heater | Moderate Advancement | 1100 | 3.75
2040 | Heat Pump Water Heater | Rapid Advancement | 1000 | 4
2040 | Heat Pump Water Heater | Slow Advancement | 1300 | 3.5
2050 | Heat Pump Water Heater | Moderate Advancement | 1000 | 3.75
2050 | Heat Pump Water Heater | Rapid Advancement | 900 | 4
2050 | Heat Pump Water Heater | Slow Advancement | 1100 | 3.5
Define a new moderately rapid scenario, in between moderate and rapid
implied values for
2020 | 1570 | 1650
2030 | 1225 | 1350
2040 | 1050 | 1100
2050 | 950 | 1000

## panel upgrades-new home savings
| Before TOU savings | Accounting for TOU | Difference
Net effect | 1456.2085 | -385.6866 | 1841.8951
Incremental panel cost on average - $s | 1960.8141
Incremental savings on average - $s | 504.6056
Electric panel upgrades may be required to handle the increased load associated with building electrification
Panels may also need to be replaced for other reasons, including electric vehicle charging and rooftop solar PV and deferred maintenance.
anecdotally, understand retrofits likely to apply to single family homes at least 30 years old.
American housing survey
2017 California - General Housing Data - All Occupied Units
Year Structure Built1,2
2016 to 2017 | 87.1
2010 to 2015 | 342.1
2005 to 2009 | 710.9
2000 to 2004 | 788.7
1995 to 1999 | 685.1
1990 to 1994 | 654.9
1985 to 1989 | 1109
1980 to 1984 | 908.9
1970 to 1979 | 2216
1960 to 1969 | 1563
1950 to 1959 | 1850
1940 to 1949 | 862.8
1930 to 1939 | 382.5
1920 to 1929 | 568.3
1919 or earlier | 447.2
total | 13176.5
1995 or more recent | 2613.9
Vintage
fraction 1990 or more recent | 0.19838
fraction remaining older than 1995 | 0.80162
existing housing stock type, single or multi
single family | 0.5783
multi family | 0.4217
Calculating extra panel costs
Fraction of upgrades in existing buildings / retrofit | 0.8419
fraction of existing homes older than 1995 (midpoint of 20-30 years) | 0.80162 |  | "Anecdotally speaking, my understanding is that 200A panels have been standard on new buildings for 20-30 years " - Michael Henchen, RMI, personal communication 13 February 2019
fraction of single family | 0.5783
assume all single family need upgrades | 1 |  | Assume all single family dwellings older than 1995 need panel upgrades.
fraction attributable to builing upgrades | 0.66358 |  | Calculated below
fraction of multifamily dwellings | 0.4217
fraction of these needing upgrades | 0.5 |  | Assume multifamily are maintained and updated to higher levels than single family homes. Instead of all, half of buildings need a panel upgrade.
fraction attributable to builing upgrades | 0.66358 |  | assume some overlap with 5 million ZEVs
fraction of building electrification events where panel upgrade is necessary and attributable to building electrification | 0.41978
Full installation cost | 4671
Incremental panel cost on average - $s | 1960.8141
Calculating benefit of avoiding need for gas pipes in new homes
Fraction of electrification in new homes | 0.1581
Fraction of new that are single family | 0.49775 |  |  | Seems the savings would exist in multifamily too but since this is not mentioned or quantified, not considered.
Full savings | 6412
Incremental savings on average - $s | 504.6056
Attribution of panel upgrades to building electrification or EV charging at buildings
Sum of water heater installations 2020-2030 with linear ramp to 100 | 7869834.6989
Sum of number of units shifted to electric heat pump installations 2020-2030 | 4190817.1636
Take into account clustering. Household adopting air source heat pump more likely to adopt heat pump water heater and also electric vehicle.
Assume central heat induced panel upgrades overlap with water heating 3/4 of the time.
Based on this, compute unique building electrification events | 8917538.9898 | Total panel upgrades due to building electrification
5 million ZEV goal will be met in policy scenarios | 5000000
500,000 on the road today | 500000
Some households will forego level 2 or faster charging | 500000
Based on this, 4 million residential chargers to be installed | 4000000
Suppose 3 out of 4 of these overlap with building electrification | 3000000
| 2000000 | (For later purposes, assume 2 our of 3 million are in single family homes, and the remainder in multifamily)
Attribute these overlapping to vehicle electrification
Therefore, can reduce the need for panel upgrades by this amount
Apply as a ratio of panel upgrades account for otherwise | 0.66358
Mike Henchen, personal communication, tips on accounting for panel upgrades
I don’t think this would be an issue with new construction, where single family homes typically get 200A panels anyway, which are sufficient.
For retrofit, I don’t have good figures but I think you’d need to know or estimate:
1. What portion of buildings (or just how many buildings) will need a panel upgrade
2. How much will this cost on average per building
3. How should you allocate these costs to electrified space and water heating vs. electric vehicle charging
For #1, I don’t know and have not tried to estimate it. I have heard anecdotally that 200A panels have been standard on new buildings for 20-30 years but am not sure. I would guess buildings of that vintage or younger are 30% of the building stock or less – you could look at EIA RECS to try to figure it out. Not sure how many older homes to expect have already upgraded during other renovations. Also, this probably applies most to single family homes. Not sure about commercial or multifamily.
For #2 I think $4,600 seems quite high. Just googling a few sites gives me estimates anywhere from $1300 to $3000. See for instance:
https://www.homewyse.com/services/cost_to_upgrade_electrical_service_panel.html
https://www.angieslist.com/articles/ask-angie-what-does-it-cost-upgrade-200-amps.htm
https://www.homeadvisor.com/cost/electrical/upgrade-an-electrical-panel/
https://www.houselogic.com/organize-maintain/home-maintenance-tips/do-you-need-electrical-service-upgrade/
For #3, there is probably some subjective modeling judgment to apply. If a home is getting both EV charging and electric space and water heating, they will need to upgrade to a 200A panel. If they are getting only one of the other they will probably need the same upgrade. If they are getting rooftop solar they may need a similar upgrade (I’m not sure how that works – you’d want to verify that). So you’ll have to determine how many times a building is getting multiple of these measures and split the costs accordingly.

## E3 data stock additions
Residential space heat - stock additions in SP scenario
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Electric Radiator | 71532.8706 | 69187.6734 | 72262.7187 | 72710.0419 | 73302.7707 | 73966.6817 | 76018.2142 | 77026.9326 | 77786.8553 | 78329.2354 | 78907.0181 | 79085.1705 | 78721.521 | 78749.7979 | 78561.2037 | 79283.8082 | 79822.101 | 79327.9167 | 79339.3998 | 79104.0948 | 79423.7018 | 79943.1161 | 80199.4498 | 80433.0805 | 80987.1908 | 81462.7108 | 81951.7743 | 82410.7122 | 82792.5999 | 83072.9153 | 83342.0308 | 83575.8304 | 83742.5648 | 83727.6106
Electric Heat Pump | 21334.4842 | 20940.8261 | 21794.9021 | 21958.467 | 22085.9473 | 22158.2036 | 22513.626 | 22597.8305 | 22631.0144 | 22650.5677 | 22727.3617 | 22769.4992 | 22734.3185 | 22834.9478 | 22919.2101 | 23230.0874 | 23505.8497 | 23523.8851 | 23648.3556 | 23688.6039 | 23830.3179 | 23985.0968 | 24050.0181 | 24074.9693 | 24155.6824 | 24208.407 | 24260.3376 | 24313.1955 | 24365.5176 | 24413.7667 | 24481.1253 | 24561.3105 | 24642.4383 | 24691.5982
High Efficiency Electric Heat Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference Natural Gas Furnace | 410196.8611 | 381008.3497 | 361322.7332 | 297652.9162 | 217477.501 | 152401.4738 | 118105.191 | 102146.9623 | 95993.655 | 93861.2724 | 93454.375 | 93191.1977 | 92465.4074 | 92164.4692 | 91423.7998 | 91426.3637 | 90725.6637 | 88167.0696 | 85428.4931 | 81540.3436 | 77436.5557 | 72778.0349 | 67195.0157 | 61214.3954 | 55526.826 | 49945.0343 | 44825.1888 | 40294.7138 | 36398.2102 | 33132.6539 | 30563.9651 | 28577.2166 | 27017.697 | 25632.8927
High Efficiency Natural Gas Furnace | 10687.2916 | 26077.1627 | 63855.6899 | 130157.4616 | 213820.3662 | 282802.7042 | 329169.7668 | 351063.0796 | 361687.6099 | 367011.2413 | 370817.6888 | 372129.0767 | 370715.2309 | 371182.5442 | 370813.5658 | 375062.6527 | 378930.5526 | 378581.472 | 381387.6122 | 383891.2776 | 389875.5647 | 397590.2085 | 404681.4404 | 412036.6938 | 420984.5305 | 429364.18 | 437361.5712 | 444592.339 | 450735.7881 | 455650.6605 | 459802.7672 | 463165.1427 | 465705.6921 | 467002.5092
Reference Natural Gas Radiator | 111434.4947 | 101427.1347 | 96317.8303 | 78360.1315 | 56521.355 | 39127.005 | 30240.1022 | 26042.7703 | 24448.1012 | 23986.9941 | 24083.2532 | 24259.2846 | 24343.8342 | 24631.784 | 24824.0075 | 25356.6775 | 25749.8444 | 25620.0352 | 25613.5934 | 25392.5373 | 25273.5121 | 25096.6941 | 24673.5789 | 24074.1626 | 23428.8469 | 22603.1478 | 21610.5861 | 20471.8802 | 19196.3262 | 17818.2393 | 16411.2608 | 15029.6583 | 13690.3759 | 12385.8927
High Efficiency Natural Gas Radiator | 2903.3164 | 6941.9159 | 17021.9887 | 34265.1913 | 55570.692 | 72605.2503 | 84280.5495 | 89501.383 | 92106.9026 | 93768.3626 | 95497.6488 | 96720.1495 | 97259.6341 | 98493.7867 | 99310.7782 | 101492.953 | 103149.7001 | 102778.8518 | 103020.4511 | 102590.2187 | 102852.0021 | 103272.5395 | 103220.7155 | 103098.5005 | 103538.8372 | 104075.6355 | 104789.0638 | 105729.1868 | 106819.9777 | 108032.8814 | 109456.2091 | 111076.4265 | 112734.8406 | 114202.2326
Reference LPG Furnace | 18926.0128 | 18305.5256 | 19119.1145 | 19237.4663 | 19394.2892 | 19569.9453 | 20112.7354 | 20379.6199 | 20580.6786 | 20724.1804 | 20877.0489 | 20924.1841 | 20827.9705 | 20835.4519 | 20785.5541 | 20976.7392 | 21119.1596 | 20988.4094 | 20991.4475 | 20929.191 | 21013.752 | 21151.1775 | 21218.9977 | 21280.8112 | 21427.4165 | 21553.2286 | 21682.6239 | 21804.0488 | 21905.0878 | 21979.253 | 22050.455 | 22112.3132 | 22156.4274 | 22152.4709
None | 261491.8565 | 262078.8547 | 265440.4227 | 266623.172 | 268340.9972 | 270037.8971 | 272367.026 | 274079.8227 | 275955.4119 | 277818.8959 | 279749.9344 | 281516.8045 | 283064.0073 | 284840.4376 | 286381.5518 | 288416.2136 | 290275.7862 | 291627.6916 | 293324.5487 | 294660.8574 | 296203.8988 | 297715.4569 | 299018.1449 | 300279.9625 | 301636.6698 | 302861.0789 | 304072.4892 | 305254.5542 | 306380.7487 | 307453.9058 | 308515.0946 | 309553.8688 | 310552.6473 | 311452.2334
Central heat
NG (or LNG) installations | 647015.3314 | 623888.588 | 651694.9775 | 654341.6757 | 658172.9215 | 662631.2639 | 680440.185 | 688758.5782 | 695234.8171 | 700331.8538 | 706364.3945 | 709078.5622 | 707067.9165 | 708892.7816
Sum of central heat installations 2020-2030 | 7571314.95
How many with linear ramp to 100%? |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Implementation schedule |  |  |  | 0.090909 | 0.18182 | 0.27273 | 0.36364 | 0.45455 | 0.54545 | 0.63636 | 0.72727 | 0.81818 | 0.90909 | 1
annual amount (fraction of row37) |  |  |  | 59485.6069 | 119667.8039 | 180717.6174 | 247432.7945 | 313072.081 | 379218.9911 | 445665.7252 | 513719.5596 | 580155.1873 | 642789.015 | 708892.7816
Sum of number of units shifted to electric heat pump installations 2020-2030 | 4190817.1636
stock in 2017 | 12809541.1374
Water heating
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Gas WH | 1186883.7511 | 1154293.2398 | 1153531.7511 | 1107077.6773 | 1050776.0128 | 1007172.6312 | 995509.4736 | 990973.3723 | 991541.7931 | 991971.1086 | 991044.8558 | 983778.3474 | 968663.6163 | 952990.1546 | 933748.8762 | 920624.9816 | 907192.6523 | 887864.2468 | 874338.7621 | 860303.0798 | 850957.1761 | 842802.2955 | 831954.3697 | 819676.2209 | 808722.7939 | 796558.2691 | 784068.6013 | 771564.0717 | 759078.2135 | 746729.2164 | 735176.5718 | 724334.1703 | 713717.5839 | 702299.409
High Efficiency Gas WH | 7586.2351 | 18796.0576 | 45026.7211 | 91206.5661 | 148843.781 | 195838.4171 | 225666.0517 | 240847.4299 | 250355.9774 | 259037.2478 | 270013.196 | 283853.2217 | 300745.5498 | 321924.648 | 345120.5882 | 370765.63 | 395372.9253 | 416227.8078 | 435750.9263 | 452621.0127 | 468919.3464 | 484735.3004 | 499967.5406 | 515485.017 | 532154.6131 | 549193.318 | 566464.1044 | 583621.0686 | 600316.2728 | 616358.0473 | 631852.8735 | 646853.5909 | 661398.7593 | 675413.7969
Reference Electric WH | 30712.2846 | 28452.7229 | 26235.2604 | 20189.4984 | 12499.9566 | 6217.6208 | 2711.9738 | 1084.0976 | 418.4286 | 159.1035 | 60.2274 | 22.6429 | 8.4431 | 3.152 | 1.1672 | 0.43326 | 0.15859 | 0.056413 | 0.019822 | 0.00679 | 0.0022909 | 0.00075758 | 0.00024344 | 7.6266e-05 | 2.3624e-05 | 7.1935e-06 | 2.1712e-06 | 6.5451e-07 | 1.9849e-07 | 6.0918e-08 | 1.9194e-08 | 6.2538e-09 | 2.0943e-09 | 7.0436e-10
High Efficiency Electric WH | 1006.7856 | 2476.6045 | 6063.5391 | 12390.1014 | 20368.8997 | 26902.7309 | 31158.6852 | 33075.4851 | 33904.7727 | 34250.322 | 34470.5368 | 34506.684 | 34352.7504 | 34388.6567 | 34376.0917 | 34756.953 | 35083.0675 | 35008.0451 | 35143.1133 | 35175.1331 | 35411.9446 | 35707.4572 | 35876.7671 | 35991.2169 | 36203.9363 | 36359.5164 | 36488.5385 | 36590.3668 | 36661.1738 | 36699.3846 | 36744.3028 | 36803.1833 | 36858.1406 | 36866.2789
Heat Pump Electric WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference LPG WH | 56261.2675 | 55254.206 | 56453.8411 | 56440.9245 | 56503.8309 | 56663.5639 | 57519.1371 | 58020.545 | 58495.1848 | 58924.3066 | 59397.6619 | 59707.2841 | 59791.0114 | 60050.3349 | 60236.6052 | 60826.3694 | 61352.7265 | 61424.6258 | 61707.123 | 61840.6275 | 62168.0971 | 62528.9447 | 62735.4523 | 62888.0293 | 63157.2692 | 63386.8501 | 63612.0477 | 63831.1841 | 64029.4504 | 64203.3856 | 64389.0681 | 64584.9308 | 64769.9727 | 64892.2887
Total | 1282450.3238 | 1259272.8309 | 1287311.1128 | 1287304.7677 | 1288992.4809 | 1292794.9638 | 1312565.3214 | 1324000.93 | 1334716.1566 | 1344342.0885 | 1354986.4779 | 1361868.18 | 1363561.371 | 1369356.9462 | 1373483.3285 | 1386974.3673 | 1399001.5301 | 1400524.7818 | 1406939.9446 | 1409939.8599 | 1417456.5665 | 1425773.9987 | 1430534.1299 | 1434040.4841 | 1440238.6125 | 1445497.9536 | 1450633.292 | 1455606.6913 | 1460085.1105 | 1463990.0339 | 1468162.8161 | 1472575.8754 | 1476744.4565 | 1479471.7735
Gas or LPG installations | 1250731.2536 | 1228343.5034 | 1255012.3133 | 1254725.1679 | 1256123.6246 | 1259674.6122 | 1278694.6624 | 1289841.3472 | 1300392.9553 | 1309932.663 | 1320455.7137 | 1327338.8532 | 1329200.1775 | 1334965.1375
How many with linear ramp to 100%? |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Implementation schedule |  |  |  | 0.090909 | 0.18182 | 0.27273 | 0.36364 | 0.45455 | 0.54545 | 0.63636 | 0.72727 | 0.81818 | 0.90909 | 1
annaul amount (fraction of row 55) |  |  |  | 114065.9244 | 228386.1136 | 343547.6215 | 464979.8772 | 586291.5215 | 709305.2484 | 833593.5128 | 960331.4282 | 1086004.5162 | 1208363.7977 | 1334965.1375
Sum of water heater installations 2020-2030 with linear ramp to 100 | 7869834.6989

## Load shift benefits
1000 | savings in new home
2000 | savings in existing home
RMI - Economics of Electrifying Buildings
https://rmi.org/wp-content/uploads/2018/06/RMI_Economics_of_Electrifying_Buildings_2018.pdf
The flexible device on the 3:1 rate offers the most lifetime savings as it optimizes for demand flexibility
by strategically preheating or precooling space and water, saving nearly $1,000 in lifetime energy costs compared to an inflexible device on the standard rate.
The default TOU rate has too small a price differential (at most, peak pricing is 19% greater than off-peak pricing) to encourage significant load shifting or to capture significant savings,
and it may not recoup the added cost of equipping the devices with extra control capability to operate flexibly.
While natural gas remains the cheapest option, optimizing for demand flexibility with a hypothetical 3:1 TOU rate makes a heat pump system more costeffective, saving more than $2,000 over a standard,
non-optimized heat pump. However, if a household is simultaneously replacing both an air conditioner and natural gas space and water heating systems, it is more cost-effective to electrify; rather than paying for an air conditioner, furnace, and water heater,
A wide range of existing and emerging technologies are able to provide Load Shift now and the benefits of doing so are growing. Studies suggest beginning in 2025 up to $600 million (2015$) could be saved annually by shifting load to avoid the curtailment of renewable generation.1 And
~The final report of the CPUC's Working Group on Load Shift
If California came up with a way to price electricity “at a rate that reflects its true cost,” the state could clearly cost-effectively heat water without needing gas and “space heating would not be far behind,” Borenstein said.
https://www.sfchronicle.com/business/article/Can-California-homes-and-businesses-quit-natural-13626019.php
Scenarios to decarbonize residential water heating in California Shuba V. Raghavana,⁎ , Max Weib , Daniel M. Kammen
https://rael.berkeley.edu/wp-content/uploads/2017/07/Raghavan-Wei-Kammen-WaterHeating-_-ENergyPolicy-2017.pdf
Energy Policy 109 (2017) 441–451

## Program administration costs
Estimated program implementation cost ($/unit installed) | 119.287
Estimate annual cost
Approximate using current staffing for buildings and appliance code setting and enforcement in the California Energy Commission.
Relevant department is the line for Code 2385 from the budget below.
Cost estimate (annual) | 49991000
Code | Program | Positions | Dollars* (thousands) | $
2380 | Regulatory and Planning | 131 | 37238
2385 | Energy Resources Conservation | 164.3 | 49991 | 49991000
2390 | Development | 197.1 | 448301
9900100 | Administration | 180.9 | $-
9900200 | Administration - Distributed | - | $-
Totals, Positions and Expenditures (excluding Infrastructure) |  | 673.3 | 535530
| Infrastructure Expenditures | - | $-
Totals, Positions and All Expenditures |  | 673.3 | 535530
http://www.ebudget.ca.gov/budget/publication/#/e/2018-19/Department/3360
These are understood to include not only salaries but overhead and field expenses.
Cost interpeted as increment per electric heat pump unit installed.
Sum of number of units shifted to electric heat pump installations 2020-2030 | 4190817.1636
annual cost over 10 years | 499910000
program implementation cost per heat pump installed | 119.287