## About
BTC BAU Transmission Capacity
Sources: | California Energy Commission
California’s Transmission Challenges for Interconnecting Renewables
Presentation fon March 29, 2011 by Ean O’Neill Electric Transmission System Program Specialist Strategic Transmission Planning Office Siting, Transmission and Environmental Protection Division
https://pubs.naruc.org/pub.cfm?id=5388DDE4-2354-D714-515D-B35079A88922
Notes | Method in brief:
Use the two data points at different points in time to estimate an annual change up to the start year.
Absent a stronger basis for forecasting forward, the value is held constant over time after the start year.
We actively sought more recent data and data over a longer time horizon, but we do not believe these data exists.
We were told by the CEC: "We have not updated Ean’s transmission miles summary table since it is not a relevant metric to our system evaluations...
Instead, we focus on new transmission need assessments, corridor designations and permitting issues.
Currently, there are about 177 transmission lines, new substations, reconductoring projects, and other upgrades that are
considered just within the California Independent System Operator and a number of out-of-state projects intended to connect to CA for increased electricity market transactions.
Personal communication from: Al Alvarado, Program Manager, Strategic Transmission Planning & Corridor Designation Office, CEC
(August 2018)

## Start year estimate
Intuiting an annual rate of increase.
The two datapoints across time are taken to represent a year increment, reflecting the March 29, 2011 date for one and the January 2012 date for the other.
The first way we are conservative is that a straight reading of these dates would suggest 9-10 months of the year are accounted for in what we will take as the annual increment.
The second way we are conservative is in not ascribing any increase in capacity outside of the CAISO managed system, which encompases the large utilities (PGE&E, SCE, and SDG&E).
| CAISO | Other | total
2011 | 25526 | 6195 | 31721
2012 | 25865 | 6195 | 32060
estimated annual difference | 339
now impute future year values, up to the start year
2013 | 26204 | 6195 | 32399
2014 | 26543 | 6195 | 32738
2015 | 26882 | 6195 | 33077
2016 | 27221 | 6195 | 33416
2017 | 27560 | 6195 | 33755

## BTC
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (circuit miles) | 33416 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755 | 33755