## About
DRC BAU Demand Response Capacity
DRC Potential Additional Demand Response Capacity
Source: | Main Source
California Public Utility Commission
2018 (Sept 18)
Integrated Resource Plan and Long Term Procurement Planning Process (IRP Process)
IRP Production Cost Modeling with the Reference System Plan and the 2017 IPER: SERVM model results
http://www.cpuc.ca.gov/uploadedFiles/CPUCWebsite/Content/UtilitiesIndustries/Energy/EnergyPrograms/ElectPowerProcurementGeneration/DemandModeling/IRP_RSP_2017IEPR_SERVM_results_20180913.pdf
Energy + Environmental Economics, Inc.
California Pathways model, 2030 Scoping Plan Analysis
September 2017 release
Model documentation: https://www.arb.ca.gov/cc/scopingplan/california_pathways_model_framework_jan2017.pdf
Discussion of model application for Scoping Plan: https://www.arb.ca.gov/cc/scopingplan/2030sp_appd_pathways_final.pdf
Model itself downloadable (as of July 26, 2018): https://www.arb.ca.gov/cc/scopingplan/pathways_arb_2.4.1_101917.zip
Background on potential additional
LBNL. March 1, 2017. 2025 California Demand Response Potential Study. Presented at the August 8, 2017, IEPR
workshop http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-
12/TN220511_20170802T120454_2025_California_Demand_Response_Potential_Study.pdf. The full report is available
online at http://www.cpuc.ca.gov/General.aspx?id=10622.
Notes
The CPUC modeling to get to the 60% RPS / ~42 MMT (not counting CHP) level indicates
a 2030 level of |  | 1753 | MW
See "CPUC IRP" tab for details.
In the course of data collection, we did observe this, in
Scoping Plan Analysis, Appendix D, at p. 12:
The Reference scenario includes an increase of approximately 5,500 cumulative MW
of conventional, load shedding demand response by 2031,
over and above the approximately 2,000 MW of existing demand response available in 2015.
The California Pathways data are gathered at the "CA Pathways" tab for background.

## DRC-BDRC
Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DR Capacity (MW) | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753 | 1753

## DRC-PADRC
Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Potential Additional DR Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300

## CPUC IRP
Resolve value |  | 1752
SERVM value |  | 1754
| avg | 1753

## Potential
Demand response as a flexibility resource is an area of continued study for the CPUC.
At this time, the Commission only wants to rely on DRC for a fairly limited role. Our initial assumption for California EPS release follows this approach.
The CPUC's IRP proceeding has estimated the potential, as shown in the excerpts below, at | 300 | MW

## CA Pathways
60% RPS scenario in E3 CA Pathways
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Grid Electrolysis | 7.8829 | 11.5137 | 16.4413 | 26.3587 | 40.073 | 53.2078 | 71.6583 | 117.982 | 193.2393 | 292.858 | 421.279 | 564.6374 | 749.0211 | 989.2377 | 1283.1088 | 1630.0658 | 2053.2762 | 2526.9401 | 3060.3777 | 3650.8253 | 4300.5434 | 4996.2659 | 5705.17 | 6422.7791 | 7141.6943 | 7860.7623 | 8616.5604 | 9363.1078 | 10099.4085 | 10820.7583 | 11522.2352 | 12199.5349 | 12809.3551 | 13357.8268 | 13847.4985 | 14281.5829
Flexible Load Dispatch | 0 | 0 | 0 | 898.3101 | 910.1187 | 920.4963 | 921.2182 | 937.891 | 967.2244 | 1003.5715 | 1048.1572 | 1119.4881 | 1191.6221 | 1269.4344 | 1350.6507 | 1441.3007 | 1534.4067 | 1618.6074 | 1701.858 | 1784.7731 | 1869.1689 | 1952.446 | 2037.5913 | 2125.9654 | 2214.7637 | 2303.6153 | 2409.1069 | 2511.2781 | 2609.8104 | 2704.1299 | 2768.7608 | 2832.0518 | 2892.6123 | 2949.8378 | 3003.1332 | 3051.4434
Flexible Exports | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Energy Storage Charging | 2647.8333 | 2868.6667 | 3089.5 | 3310.3333 | 3531.1667 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752
Energy Storage Discharging | 2647.8333 | 2868.6667 | 3089.5 | 3310.3333 | 3531.1667 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752 | 3752
Flexible Imports | 12380 | 11900 | 12480 | 12200 | 12280 | 12280 | 12310 | 12310 | 12310 | 12310 | 10920 | 10950 | 10950 | 12320 | 12320 | 12320 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600 | 12600
Flexible Load Delay | 0 | 0 | 0 | 971.3152 | 987.1422 | 1001.2147 | 1003.0226 | 1022.2698 | 1055.5019 | 1096.6647 | 1146.7779 | 1223.8153 | 1301.6373 | 1385.8138 | 1473.9454 | 1572.0085 | 1672.7295 | 1764.2931 | 1855.2211 | 1946.1567 | 2039.0568 | 2131.1174 | 2225.558 | 2321.4497 | 2417.4946 | 2513.5692 | 2627.646 | 2738.0727 | 2844.5012 | 2946.3077 | 3015.9044 | 3084.0016 | 3149.0937 | 3210.5277 | 3267.6612 | 3319.3538
Hydro Generation | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822 | 13822
Thermal Generation | 43449.27 | 44157.27 | 40037.27 | 40037.27 | 40098.27 | 34203.27 | 36958.27 | 36958.27 | 36953.2188 | 36763.5049 | 36430.6175 | 36376.9805 | 36095.1161 | 35940.69 | 34536.1428 | 34319.9034 | 34124.8818 | 34124.8818 | 33954.6985 | 33870.6431 | 33707.5326 | 33635.5991 | 33453.2693 | 33132.5127 | 33132.5127 | 33132.5127 | 31153.901 | 29347.763 | 28781.5382 | 29317.3779 | 29807.1839 | 30290.7133 | 30764.7464 | 31230.9575 | 31688.6901 | 32157.3368
Take demand response to include flexible load dispatch and delay
| 0 | 0 | 0 | 1869.6252 | 1897.261 | 1921.711 | 1924.2408 | 1960.1609 | 2022.7263 | 2100.2362 | 2194.9351 | 2343.3034 | 2493.2594 | 2655.2482 | 2824.5961 | 3013.3092 | 3207.1362 | 3382.9005 | 3557.0791 | 3730.9298 | 3908.2257 | 4083.5634 | 4263.1493 | 4447.415 | 4632.2583 | 4817.1846 | 5036.7529 | 5249.3508 | 5454.3116 | 5650.4376 | 5784.6652 | 5916.0534 | 6041.706 | 6160.3654 | 6270.7944 | 6370.7972
CEC RPS calculator shows 1555 across all years, so use that as a lower bound and substitute that value for 2015-2017
Take broader view, include flexible exports and energy storage charging
|  | 4368.6667 | 4589.5 | 6679.9586 | 6928.4277 | 7173.711 | 7176.2408 | 7212.1609 | 7274.7263 | 7352.2362 | 7446.9351 | 7595.3034 | 7745.2594 | 7907.2482 | 8076.5961 | 8265.3092 | 8459.1362 | 8634.9005 | 8809.0791 | 8982.9298 | 9160.2257 | 9335.5634 | 9515.1493 | 9699.415 | 9884.2583 | 10069.1846 | 10288.7529 | 10501.3508 | 10706.3116 | 10902.4376 | 11036.6652 | 11168.0534 | 11293.706 | 11412.3654 | 11522.7944 | 11622.7972