## About
PTCF Peak Time Capacity Factors
Source: | California Market
California Independent System Operator
2014
Final 2016 Net Qualifying Capacity for Resource Adequacy Resources
http://www.elabs7.com/c.html?ufl=7&rtr=on&s=lgl3,1998c,7k2,8gcf,l8p0,b589,diqv
2016 Technology Factors
Notes
Peak time capacity factors are meant to represent the average availability of resources to meeting peak
during the peak hours of the year.
For dispatchable resources, peak time capacity factors are assumed to equal one.
Non-dispatchable resources (either intermittent or energy limited) are considered to be solar, wind, geothermal, and biomass.
Based on data in "CAISO - Peak" worksheet, peak demand is assumed to occur over June to September.

## CAISO
2016 Technology Factors
Non-Dispatchable Solar, Wind, Biomass, Cogeneration, Geothermal, and
Hydro Technology Factors for Compliance Year 2016
Solar
| Month | 2012 | 2013 | 2014 | CY 2016 Solar Factor
| 1 | 0.6679% | 0.3447% | 0.2418% | 0.4181%
| 2 | 14.08% | 0.8097% | 1.383% | 5.423%
| 3 | 31.55% | 8.014% | 7.78% | 15.78%
| 4 | 88.42% | 73.85% | 75.74% | 79.34%
| 5 | 90.47% | 60.61% | 65.58% | 72.22%
| 6 | 100.2% | 92.93% | 99.17% | 97.45% |  | average | 0.92613
| 7 | 99.18% | 82.62% | 87.65% | 89.82%
| 8 | 93.99% | 92.55% | 94.29% | 93.61%
| 9 | 91.44% | 87.72% | 89.56% | 89.57%
| 10 | 44.37% | 51.78% | 48.69% | 48.28%
| 11 | 0.1866% | 0.214% | 0.4106% | 0.2704%
| 12 | 0.6198% | 0.1099% | 0.2167% | 0.3155%
Wind
| Month | 2012 | 2013 | 2014 | CY 2016 Wind Factor
| 1 | 5.679% | 3.092% | 2.625% | 3.799%
| 2 | 12.16% | 4.831% | 18.94% | 11.98%
| 3 | 19.84% | 22.25% | 17.5% | 19.86%
| 4 | 9.029% | 28.36% | 17.92% | 18.43%
| 5 | 26.38% | 32.83% | 33.94% | 31.05%
| 6 | 25.13% | 27.17% | 31.02% | 27.77% |  | average | 0.17867
| 7 | 13.16% | 19.34% | 19.37% | 17.29%
| 8 | 12.48% | 18.02% | 16.67% | 15.72%
| 9 | 6.194% | 16% | 9.861% | 10.68%
| 10 | 7.654% | 8.286% | 5.838% | 7.259%
| 11 | 2.713% | 2.582% | 4.381% | 3.225%
| 12 | 9.652% | 2.76% | 4.228% | 5.547%
Biomass
| Month | 2012 | 2013 | 2014 | CY 2016 Biomass Factor
| 1 | 78.91% | 72.65% | 71.7% | 74.42%
| 2 | 78.99% | 67.99% | 67.55% | 71.51%
| 3 | 76.67% | 72.08% | 72.32% | 73.69%
| 4 | 59.67% | 60.54% | 65.03% | 61.74%
| 5 | 67.46% | 67.52% | 62.66% | 65.88%
| 6 | 71.64% | 73.7% | 76.98% | 74.11% |  | 0.7538 | average
| 7 | 76.6% | 74.3% | 77.26% | 76.05%
| 8 | 76.4% | 76.54% | 76.64% | 76.53%
| 9 | 76.83% | 71.13% | 76.54% | 74.84%
| 10 | 71.43% | 70.37% | 72.06% | 71.28%
| 11 | 67.96% | 68.93% | 69.16% | 68.68%
| 12 | 72.61% | 72.5% | 70.47% | 71.86%
Cogeneration
| Month | 2012 | 2013 | 2014 | CY 2016 Cogeneration Factor
| 1 | 0.6243 | 0.54797 | 0.57348 | 58.19%
| 2 | 0.6323 | 0.56452 | 0.55526 | 58.4%
| 3 | 0.59959 | 0.47967 | 0.52023 | 53.32%
| 4 | 0.57096 | 0.45965 | 0.52631 | 51.9%
| 5 | 0.5938 | 0.53205 | 0.53296 | 55.29%
| 6 | 0.70718 | 0.62505 | 0.63629 | 65.62%
| 7 | 0.70698 | 0.64017 | 0.66115 | 66.94%
| 8 | 0.72195 | 0.61275 | 0.63777 | 65.75%
| 9 | 0.70183 | 0.60659 | 0.61571 | 64.14%
| 10 | 0.60503 | 0.50445 | 0.53462 | 54.8%
| 11 | 0.58805 | 0.53439 | 0.53571 | 55.27%
| 12 | 0.61626 | 0.54738 | 0.56045 | 57.47%
Geothermal
| Month | 2012 | 2013 | 2014 | CY 2016 Geothermal Factor
| 1 | 86.07% | 85.57% | 82.27% | 84.63%
| 2 | 86.65% | 85.52% | 82.49% | 84.89%
| 3 | 84.18% | 83.8% | 80.64% | 82.87%
| 4 | 84.02% | 76.08% | 81.2% | 80.43%
| 5 | 84.11% | 77.72% | 80.58% | 80.8%
| 6 | 81.59% | 77.3% | 76.28% | 78.39% | 0.79246 | average
| 7 | 83.24% | 79.35% | 76.66% | 79.75%
| 8 | 82% | 78.81% | 76.93% | 79.25%
| 9 | 83.41% | 78.95% | 76.42% | 79.59%
| 10 | 85.1% | 80.1% | 77.82% | 81.01%
| 11 | 86.05% | 81.29% | 81.13% | 82.82%
| 12 | 85.93% | 85.16% | 78.78% | 83.29%
Hydro
| Month | 2012 | 2013 | 2014 | CY 2016 Hydro Factor
| 1 | 31.3% | 41.57% | 22.52% | 31.8%
| 2 | 28.39% | 38.47% | 21.35% | 29.41%
| 3 | 32.44% | 39.94% | 23.47% | 31.95%
| 4 | 38.3% | 35.71% | 25.31% | 33.11%
| 5 | 57.82% | 45.27% | 37.01% | 46.7%
| 6 | 58.14% | 50.6% | 43.17% | 50.64% | 0.48947 | average
| 7 | 59.49% | 57.25% | 47.98% | 54.91%
| 8 | 55.63% | 51.86% | 41.45% | 49.64%
| 9 | 48.54% | 41.23% | 32.03% | 40.6%
| 10 | 33.49% | 27.35% | 19.93% | 26.93%
| 11 | 35.46% | 30.17% | 19.54% | 28.39%
| 12 | 36.85% | 23.78% | 29.08% | 29.9%
Please refer any questions regarding these tables to the following contact.
Donald Brooks, CPUC, 415-703-2626, donald.brooks@cpuc.ca.gov
PV
| Month | 2012 | 2013 | 2014 | CY 2016 PV Factor
| 1 | 0.2638% | 0.196% | 0.2743% | 0.2447%
| 2 | 1.089% | 0.6032% | 2.08% | 1.257%
| 3 | 3.811% | 6.894% | 7.974% | 6.226%
| 4 | 59.37% | 73.51% | 82.14% | 71.68%
| 5 | 72.58% | 66.63% | 82.7% | 73.97%
| 6 | 67.88% | 74.63% | 84.5% | 75.67% | 71.11% | average
| 7 | 62.58% | 64.8% | 79.92% | 69.1%
| 8 | 49.07% | 77.39% | 81.26% | 69.24%
| 9 | 55.06% | 79.23% | 77.05% | 70.45%
| 10 | 44.24% | 62.05% | 60.47% | 55.59%
| 11 | 0.1218% | 0.1503% | 0.1528% | 0.1416%
| 12 | 0.09207% | 0.128% | 0.0963% | 0.1055%

## CAISO - Peak
Year | Megawatts at Peak Load* | Date | Time | Month
1998 | 44659 | August 12 | 14:30 | 8
1999 | 45884 | July 12 | 16:52 | 7
2000 | 43784 | August 16 | 15:17 | 8
2001 | 41419 | August 7 | 16:17 | 8
2002 | 42441 | July 10 | 15:01 | 7
2003 | 42689 | July 17 | 15:22 | 7
2004 | 45597 | September 8 | 16:00 | 9
2005 | 45431 | July 20 | 15:22 | 7
2006 | 50270 | July 24 | 14:44 | 7
2007 | 48615 | August 31 | 15:27 | 8
2008 | 46897 | June 20 | 16:21 | 6
2009 | 46042 | September 3 | 16:17 | 9
2010 | 47350 | August 25 | 16:20 | 8
2011 | 45545 | September 7 | 16:30 | 9
2012 | 46846 | August 13 | 15:53 | 8
2013 | 45097 | June 28 | 16:54 | 6
2014 | 45089 | September 15 | 16:53 | 9
2015 | 47358 | September 10 | 16:53 | 9
Frequency
June | 2
July | 5
August | 6
September | 5

## PTCF
Peak Time Capacity Factors
hard coal | 1
natural gas nonpeaker | 1
nuclear | 1
hydro | 0.48947
onshore wind | 0.17867
solar pv | 0.71114
solar thermal | 0.92613
biomass | 0.7538
geothermal | 0.79246
petroleum | 1
natural gas nonpeaker | 1
lignite | 1
offshore wind | 0.17867