## About
DRC BAU Demand Response Capacity
DRC Potential Additional Demand Response Capacity
Source: | BAU capacity
California Public Utility Commission
2019-11-06
Integrated Resource Plan and Long Term Procurement Planning Process (IRP Process)
2019-20 IRP: Proposed Reference System Plan
https://www.cpuc.ca.gov/uploadedFiles/CPUCWebsite/Content/UtilitiesIndustries/Energy/EnergyPrograms/ElectPowerProcurementGeneration/irp/2018/2019%20IRP%20Proposed%20Reference%20System%20Plan_20191106.pdf
Slide 85
Potential capacity
LBNL. March 1, 2017. 2025 California Demand Response Potential Study. Presented at the August 8, 2017, IEPR
workshop http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-
12/TN220511_20170802T120454_2025_California_Demand_Response_Potential_Study.pdf. The full report is available
online at http://www.cpuc.ca.gov/General.aspx?id=10622.
Notes

## DRC-BDRC
Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DR Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## DRC-PADRC
Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Potential Additional DR Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 500 | 835.2913 | 1395.1824 | 2330.3657 | 3892.3971 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498

## CPUC IRP for BAU
We designate demand response to be the peak load shifting variety which may contribute to system flexibility.
The BAU Scenario does not envision the availability of such demand response - shift resources being added.
This is evident in the exceprt below from the CPUC's long run planning work, which shows all resources added
to provide flexiblity (to provide resource adequacy, in the CPUC terminology).
Amount of demand response shift added through 2030 implied: | 0
From slide 85 of this presentation.
|  | Resolve value |  | 1752
|  | SERVM value |  | 1754
|  |  | avg | 1753

## Potential calculations
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Time series calculated | 0 | 0 | 0 | 0.5 | 0.83529 | 1.3952 | 2.3304 | 3.8924 | 6.5014 | 6.5014 | 6.5014 | 6.5014 | 6.5014 | 6.5014
In MW |  |  |  | 500 | 835.2913 | 1395.1824 | 2330.3657 | 3892.3971 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498 | 6501.4498
Approach:
Additional potential is specified based on Figure 41 of the LBNL report (shown below).
More specifically, the supply of DR available is set based on the cost competitive shift DR in thethe Low Curtailment Scenario – BAU DR Scenario.
Table 10 (also shown below) gives details of the "Medium DR" analog to the one we use to set inputs for the EPs.
Extracting the results from the projects proved time intensive. 2020 and 2025 values are estimated by visual inspection of Figure 41.
Estimated values shown below.
| 2020 | 2025
BAU, low curtailment quantity available | 0.5 | 6.5
Then, interim values are estimated. Assume backloaded emergence, model as an exponential function.
Inputs used for calculated values in between 2020 and 2025
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| 1 | 2 | 3 | 4 | 5 | 6
.513*x | 0.513 | 1.026 | 1.539 | 2.052 | 2.565 | 3.078
| 1.6703 | 2.7899 | 4.6599 | 7.7835 | 13.0007 | 21.7149
result | 0.50009 | 0.83529 | 1.3952 | 2.3304 | 3.8924 | 6.5014
2020 | 2025
1 | 6
0.5 | 6.5
For background, we show results for the Low Curtailment Scenario – Medium (not BAU) DR Scenario below.