## About
BGrBSC BAU Grid Battery Storage Capacity
Source | California Public Utilties Commision
2019-2020 Integrated Resource Plan and Long Term Procurement Plan (IRP-LTPP) process
Data released as part of 10/8/19 Preliminary Results Workshop
Resolve outputs, accessed from linke to "New RESOLVE Scenario Tool and Results Viewer for IDER-Related Analysis"
ftp://ftp.cpuc.ca.gov/energy/modeling/IDER%20Appendix%20B%20RESOLVE%20docs.7z
Shown at tab, "Resolve output"
Web page hosting above link: https://www.cpuc.ca.gov/General.aspx?id=6442463190
Baseline storage resources (2018 and 2019)
California Public Utilties Commision
Baseline Battery Storage in the IRP Modeling 2019-2020
Modeling Advisory Group (MAG) presentation on June 17, 2019
Webpage for download and background information: https://www.cpuc.ca.gov/General.aspx?id=6442462047
Spreadsheet download: ftp://ftp.cpuc.ca.gov/energy/modeling/storage_annual_capmax_with_pivots.xlsx
Access the file, "Baseline Generic Annual Storge"
Background (2017)
California Energy Commission
Tracking Progress - Energy Storage
Archived 2018 version (accessed 28 January 2020)
https://ww2.energy.ca.gov/renewables/tracking_progress/documents/energy_storage.pdf
Notes | Most work relates to documenting and calculating additional storage to meet BAU or higher targets (i.e. 38 MMT for the electricity sector).
The tab, "baseline storage," shows the existing storage trajectory to which
the "resource build" data is added. Resource build refers to new resources built
beyond existing plans.

## BGrBSC
Year | Battery Storage Capacity (MW)
2015 | 73.5
2016 | 73.5
2017 | 162.5
2018 | 205
2019 | 350
2020 | 2029.8
2021 | 2859.23
2022 | 2859.23
2023 | 3094.67
2024 | 6826.62
2025 | 8694.025
2026 | 10561.43
2027 | 10771.0725
2028 | 10980.715
2029 | 11190.3575
2030 | 11400
2031 | 11400
2032 | 11400
2033 | 11400
2034 | 11400
2035 | 11400
2036 | 11400
2037 | 11400
2038 | 11400
2039 | 11400
2040 | 11400
2041 | 11400
2042 | 11400
2043 | 11400
2044 | 11400
2045 | 11400
2046 | 11400
2047 | 11400
2048 | 11400
2049 | 11400
2050 | 11400

## 2018 and 2019
For 2018-2019, use data below, by visual approximation.
2018 | 205
2019 | 350
https://www.cpuc.ca.gov/uploadedFiles/CPUCWebsite/Content/UtilitiesIndustries/Energy/EnergyPrograms/ElectPowerProcurementGeneration/irp/2018/IRP_MAG_20190617_CoreInputs.pdf
https://www.energy.ca.gov/sites/default/files/2019-12/energy_storage_ada.pdf
Of this total, about 332 MW are on-line. (See Table 1.) Projects procured under AB 2514 must be installed by 2024.
|  | Total | 332
|  | BTM | 108.5
|  | LSE | 223.5 | Aug 2018 data based on note below table 1

## 2017 and earlier
| Annual additions to cumulative |  | Cumulative total, adding IOU and POU
Year | IOU | POU
2015 | 73.5 | 0 | 73.5
2016 | 73.5 | 0 | 73.5
2017 | 103.5 | 59 | 162.5
The empirical data above are from a previous version of the CEC's Tracking Progress, Battery Storage report.
It is no longer available on the CEC website. It provided the data above, and stated:
Quote from tracking progress page 6:
Through June 2017, stationary battery energy storage systems totaled 177 MW in California (a 30 MW increase from 2016)
California’s publicly owned utilities (POUs) are also working to advance energy storage.
POUs have installed 59 MW of energy storage through 2017

## Time series 2020-2030
|  | 2020 | [5 empty] | 2026 |  |  |  | 2030
BAU 46 MMT case |  | 2029.8 | 2859.23 | 2859.23 | 3094.67 | 6826.62 | 8694.025 | 10561.43 | 10771.0725 | 10980.715 | 11190.3575 | 11400
38 MMT imputed |  | 2029.8 | 2859.23 | 2859.23 | 3094.67 | 6826.62 | 8694.025 | 10561.43 | 11871.0725 | 13180.715 | 14490.3575 | 15800
Column arrangement
2020 | 2029.8
2021 | 2859.23
2022 | 2859.23
2023 | 3094.67
2024 | 6826.62
2025 | 8694.025
2026 | 10561.43
2027 | 10771.0725
2028 | 10980.715
2029 | 11190.3575
2030 | 11400

## Resolve output
|  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery Storage 38 MMT Case | MW | 2029.8 | 2859.23 | 2859.23 | 3094.67 | 6826.62 | 0 | 9983.43 | 0 | 0 | 0 | 15221.62
interpolate 2025 |  | 2029.8 | 2859.23 | 2859.23 | 3094.67 | 6826.62 | 8405.025 | 9983.43
[13 empty] | 15.8 | 2030 storage capacity in summary metrics:
15.8 | Use result from summary metrics in presentation, which differs by 578 | [11 empty] | 578 | Difference with summary metrics presentation and Resolve output viewer.
578 | MW to add to years 2024-2026
True up with presentation value |  | 2029.8 | 2859.23 | 2859.23 | 3094.67 | 6826.62 | 8694.025 | 10561.43 | [5 empty] | Use summary metrics value.
Add to earlier years
[13 empty] | 11.4 | 46 MMT case - 2030 storage capacity in summary metrics:

## Scenarios - 2030 comparison
Difference between 46 MMT and 38 MMT case: | 4.4
38 MMT case - 2030 storage capacity in summary metrics: | 15.8
46 MMT case - 2030 storage capacity in summary metrics: | 11.4